## Constraint Changes
NEM Constraint Library Changes Report for the week 25 March 2019 to 31 March 2019
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2019-03-30 | Q-X_BCCP_CPWO_CL | Q>>BCWO_BCRG_CLWU_CL, Q>>BCWO_CLWU_BCRG_CL, Q>>BCWO_CLWU_LCCP_CL, Q>>BCWO_CLWU_RGLC_CL, Q>>BCWO_LCCP_CLWU_CL | New & Modified | Qld Generation + Interconnectors | ​QLD- New multiple outage constraint set for concurrent outage of 812+814+816 line | Constraint Equation
2019-03-29 | V-HOMR, V-HORC, V-MRRC | V_MWWF_115, V_MWWF_5, V>>SMLHORC4, V>>V_HOMR_1, V>>V_HOMR_2, V>>V_HOMR_3, V>>V_HOMR_4, V>SMLHORC1, V>SMLHORC2, V>SMLHORC3 | New & Modified | Victorian Generation + Interconnectors | ​VIC - New and updated constraint sets and equations for outages between Horsham and Red Cliffs due to Murra Warra WF cut-in | Constraint Equation
2019-03-29 |  | XQ^^NIL_QNI_SRAR | Modified | Qld Generation + Interconnectors | QLD - New limit advice from TNSP - Limit on QNI from QLD to NSW on trip of Sapphire- Armidale 330 KV line | Constraint Function
2019-03-29 |  | V>>V_KTS_TX_A2_2_P, V>>V_KTS_TX_A2_2A_R, V>>V_KTS_TX_A2_2B_R, V>>V_KTS_TX_A2_3_P, V>>V_KTS_TX_A2_3A_R, V>>V_KTS_TX_A2_3B_R, V>>V_KTS_TX_A3_2_P, V>>V_KTS_TX_A3_2A_R, V>>V_KTS_TX_A3_2B_R, V>>V_KTS_TX_A3_3_P, V>>V_KTS_TX_A3_3A_R, V>>V_KTS_TX_A3_3B_R | Modified | Victorian Generation + Interconnectors | ​VIC - Updated constraints for prior outages to include Bulgana, Murra Warra WF and Numurkah SF | Constraint Equation
2019-03-29 | N-DEFI_9R3_A, N-DEFI_9R3_C | N>>N_DEFI_9R3_1 | New Set(s), New Constraint(s) | NSW Generation + Interconnectors | NSW - New limit advice from TNSP - Thermal limit required for outage of 9R3 | Constraint Equation
2019-03-28 |  | V>>V_HWYP1_3_TIE, V>V_HWRO12_P, V>V_HWYP1_1_TIE, V>V_HWYP1_2_TIE, V>V_HWYP1_R, V>V_HWYP2_1_R, V>V_HWYP2_R | Modified | Victorian Generation + Interconnectors | ​VIC - update constraints for prior outages to include Bulgana WF, Murra Warra WF and Numurkah SF | Constraint Equation
2019-03-27 | Q-BCCP_812, Q-BCCP_CAGS_CLOSED | Q>>BCCP_BCRG_CLWU, Q>>BCCP_BCRG_CLWU_2, Q>>BCCP_CLWU_BCRG, Q>>BCCP_CLWU_BCRG_2, Q>>BCCP_CLWU_LCCP, Q>>BCCP_CLWU_LCCP_2, Q>>BCCP_CLWU_RGLC, Q>>BCCP_CLWU_RGLC_2, Q>>BCCP_LCCP_CLWU, Q>>BCCP_LCCP_CLWU_2 | Modified | Qld Generation + Interconnectors | ​QLD - Force SCADA flag update for 812 line outages constraints | Constraint Equation
2019-03-27 |  | S::V_MAMO_TBSE, S::V_PATU_TBSE, S::V_TB35_TBSE, S::V_TB35_TBSE_2, S::V_TB35_TBSE_2-DS, S::V_TBCG_TBSE, S::V_TBCG_TBSE_2, S::V_TBCG_TBSE_2-DS | Modified | SA Generation + Interconnectors | ​SA: Updated export stability equations | Constraint Equation
2019-03-27 |  | V>>V_DDTX_A, V>>V_DDTX_B, V>>V_DDTX_C, V>>V_EPMB_1A, V>>V_EPMB_1B, V>>V_EPTT_1, V>>V_EPTT_2_P, V>>V_EPTT_2A_R, V>>V_EPTT_2B_R, V>>V_EPTT_3, V>>V_X_DDTX2_DBUSS_A, V>>V_X_DDTX2_DBUSS_B | Modified | Victorian Generation + Interconnectors | ​VIC - Updated constraints for prior outages to include Bulgana WF, Murra Warra WF and Numurkah SF | Constraint Equation
2019-03-26 | S-HYSE | V::S_HYSE_MAXG, V::S_HYSE_MAXG_2-DS, V^^S_HYSE_MAXG, V^^S_HYSE_MAXG_2-DS | New Set(s), New Constraint(s) | SA Generation + Interconnectors | ​SA: Updated import stability equations | Constraint Equation
2019-03-26 | S-HYSE_BC-2CP | V::S_HYSE_MAXG_2, V^^S_HYSE_MAXG_2 | New & Modified | SA Generation + Interconnectors | ​SA: Updated import stability equations | Constraint Equation
2019-03-25 |  | V>>SML_BESH_1, V>>SML_BESH_2, V>>SML_BESH_4, V>>V_BTRT_2_P, V>>V_BTRT_2A_R, V>>V_BTRT_2B_R, V>>V_CBTS_TX_2_P, V>>V_CBTS_TX_2A_R, V>>V_CBTS_TX_2B_R, V>>V_CBTS_TX_3_P, V>>V_CBTS_TX_3A_R, V>>V_CBTS_TX_3B_R, V>>V_CBTS_TX_4A_R, V>>V_CBTS_TX_4B_R, V>>V_X_DDTX1_DBUSS_A, V>>V_X_DDTX1_DBUSS_B | Modified | Victorian Generation + Interconnectors | ​VIC - Update constraints to include Bulgana WF, Murra Warra WF and Numurkah SF | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines
V-NIL