## Queensland
Queensland (regional reference node is South Pine 275 kV)
Queensland Loads
Location | Voltage in kilovolts (kV) | TNI | 2019-20 MLF | 2018-19 MLF
Abermain | 33 | QABM | 1.0027 | 1.0015
Abermain | 110 | QABR | 1.0044 | 0.9968
Alan Sherriff | 132 | QASF | 0.9601 | 0.9656
Algester | 33 | QALG | 1.0164 | 1.0161
Alligator Creek | 132 | QALH | 0.9551 | 0.964
Alligator Creek | 33 | QALC | 0.963 | 0.9654
Ashgrove West | 33 | QAGW | 1.0152 | 1.0139
Ashgrove West | 110 | QCBW | 1.0128 | 1.0122
Belmont | 110 | QBMH | 1.0122 | 1.0123
Belmont Wecker Road | 33 | QBBS | 1.0112 | 1.0104
Belmont Wecker Road | 11 | QMOB | 1.0357 | 1.0353
Biloela | 66/11 | QBIL | 0.9092 | 0.9141
Blackstone | 110 | QBKS | 1.0007 | 1.0001
Blackwater | 66/11 | QBWL | 0.9527 | 0.9624
Blackwater | 132 | QBWH | 0.9516 | 0.9621
Bluff | 132 | QBLF | 0.9508 | 0.9608
Bolingbroke | 132 | QBNB | 0.9447 | 0.9486
Bowen North | 66 | QBNN | 0.9401 | 0.9469
Boyne Island | 275 | QBOH | 0.9363 | 0.9411
Boyne Island | 132 | QBOL | 0.9346 | 0.9383
Braemar – Kumbarilla Park | 275 | QBRE | 0.9788 | 0.9764
Bulli Creek (Essential Energy) | 132 | QBK2 | 0.9803 | 0.984
Bulli Creek (Waggamba) | 132 | QBLK | 0.9803 | 0.984
Bundamba | 110 | QBDA | 1.0021 | 1.0013
Burton Downs | 132 | QBUR | 0.9492 | 0.9596
Cairns | 22 | QCRN | 0.9571 | 0.9713
Cairns City | 132 | QCNS | 0.9516 | 0.9682
Callemondah (Rail) | 132 | QCMD | 0.9254 | 0.9314
Calliope River | 132 | QCAR | 0.9248 | 0.9258
Cardwell | 22 | QCDW | 0.9632 | 0.9777
Chinchilla | 132 | QCHA | 0.9846 | 0.983
Clare | 66 | QCLR | 0.9742 | 0.9615
Collinsville Load | 33 | QCOL | 0.9395 | 0.9494
Columboola | 132 | QCBL | 0.9891 | 0.9891
Columboola 132 (Bellevue LNG load) | 132 | QCBB | 0.9922 | 0.9899
Coppabella (Rail) | 132 | QCOP | 0.9614 | 0.969
Dan Gleeson | 66 | QDGL | 0.9618 | 0.9713
Dingo (Rail) | 132 | QDNG | 0.9409 | 0.9538
Duaringa | 132 | QDRG | 0.9467 | 0.9684
Dysart | 66/22 | QDYS | 0.9585 | 0.9629
Eagle Downs Mine | 132 | QEGD | 0.9545 | 0.963
Edmonton | 22 | QEMT | 0.9743 | 0.9847
Egans Hill | 66 | QEGN | 0.9131 | 0.9159
El Arish | 22 | QELA | 0.9761 | 0.9846
Garbutt | 66 | QGAR | 0.9633 | 0.9664
Gin Gin | 132 | QGNG | 0.955 | 0.9541
Gladstone South | 66/11 | QGST | 0.9292 | 0.9384
Goodna | 33 | QGDA | 1.0059 | 1.0052
Goonyella Riverside Mine | 132 | QGYR | 0.9687 | 0.9836
Grantleigh (Rail) | 132 | QGRN | 0.9204 | 0.915
Gregory (Rail) | 132 | QGRE | 0.9277 | 0.9423
Ingham | 66 | QING | 1.0356 | 0.9597
Innisfail | 22 | QINF | 0.9685 | 0.9747
Invicta Load | 132 | QINV | 0.9039 | 0.966
Kamerunga | 22 | QKAM | 0.9841 | 0.9844
Kemmis | 66 | QEMS | 0.9621 | 0.9643
King Creek | 132 | QKCK | 0.9459 | 0.9563
Lilyvale | 66 | QLIL | 0.9327 | 0.9451
Lilyvale (Barcaldine) | 132 | QLCM | 0.9647 | 0.9378
Loganlea | 33 | QLGL | 1.0143 | 1.0151
Loganlea | 110 | QLGH | 1.0117 | 1.0116
Mackay | 33 | QMKA | 0.9456 | 0.9556
Middle Ridge (Energex) | 110 | QMRX | 0.9859 | 0.9878
Middle Ridge (Ergon) | 110 | QMRG | 0.9859 | 0.9878
Mindi (Rail) | 132 | QMND | 0.9364 | 0.9425
Molendinar | 110 | QMAR | 1.0138 | 1.0143
Molendinar | 33 | QMAL | 1.0133 | 1.0136
Moranbah (Mine) | 66 | QMRN | 0.9693 | 0.9819
Moranbah (Town) | 11 | QMRL | 0.9626 | 0.9538
Moranbah South (Rail) | 132 | QMBS | 0.956 | 0.9745
Moranbah Substation | 132 | QMRH | 0.9583 | 0.9709
Moura | 66/11 | QMRA | 0.9411 | 0.948
Mt McLaren (Rail) | 132 | QMTM | 0.9616 | 0.9786
Mudgeeraba | 33 | QMGL | 1.0124 | 1.0169
Mudgeeraba | 110 | QMGB | 1.0122 | 1.0174
Murarrie (Belmont) | 110 | QMRE | 1.0134 | 1.013
Nebo | 11 | QNEB | 0.9337 | 0.9394
Newlands | 66 | QNLD | 0.9712 | 0.9831
North Goonyella | 132 | QNGY | 0.9712 | 0.9789
Norwich Park (Rail) | 132 | QNOR | 0.9455 | 0.9528
Oakey | 110 | QOKT | 0.9835 | 0.9818
Oonooie (Rail) | 132 | QOON | 0.9605 | 0.9651
Orana LNG | 275 | QORH | 0.981 | 0.9805
Palmwoods | 132 | QPWD | 1.002 | 1.0025
Pandoin | 132 | QPAN | 0.9151 | 0.9198
Pandoin | 66 | QPAL | 0.9158 | 0.9199
Peak Downs (Rail) | 132 | QPKD | 0.9662 | 0.971
Pioneer Valley | 66 | QPIV | 0.971 | 0.9623
Proserpine | 66 | QPRO | 0.967 | 0.9723
Queensland Alumina Ltd (Gladstone South) | 132 | QQAH | 0.9328 | 0.9381
Queensland Nickel (Yabulu) | 132 | QQNH | 0.9506 | 0.9616
Raglan | 275 | QRGL | 0.9182 | 0.9217
Redbank Plains | 11 | QRPN | 1.0062 | 1.0031
Richlands | 33 | QRLD | 1.0155 | 1.0149
Rockhampton | 66 | QROC | 0.9165 | 0.9134
Rocklands (Rail) | 132 | QRCK | 0.9094 | 0.9164
Rocklea (Archerfield) | 110 | QRLE | 1.0059 | 1.0061
Ross | 132 | QROS | 0.9511 | 0.9625
Runcorn | 33 | QRBS | 1.0175 | 1.0174
South Pine | 110 | QSPN | 1.0041 | 1.0042
Stony Creek | 132 | QSYC | 0.9612 | 0.9723
Sumner | 110 | QSUM | 1.0073 | 1.0071
Tangkam (Dalby) | 110 | QTKM | 0.9849 | 0.9867
Tarong | 66 | QTRL | 0.9756 | 0.9756
Teebar Creek | 132 | QTBC | 0.9723 | 0.9764
Tennyson | 33 | QTNS | 1.0096 | 1.0098
Tennyson (Rail) | 110 | QTNN | 1.0082 | 1.0087
Townsville East | 66 | QTVE | 0.9539 | 0.9669
Townsville South | 66 | QTVS | 0.9589 | 0.9698
Townsville South (KZ) | 132 | QTZS | 1.0026 | 1.0147
Tully | 22 | QTLL | 1.0037 | 0.9516
Turkinje | 66 | QTUL | 0.9836 | 0.9966
Turkinje (Craiglie) | 132 | QTUH | 0.9857 | 0.9915
Wandoan South | 132 | QWSH | 0.9986 | 1.0036
Wandoan South (NW Surat) | 275 | QWST | 0.9975 | 1.003
Wandoo (Rail) | 132 | QWAN | 0.9433 | 0.9471
Wivenhoe Pump | 275 | QWIP | 0.9977 | 0.9974
Woolooga (Energex) | 132 | QWLG | 0.9764 | 0.9756
Woolooga (Ergon) | 132 | QWLN | 0.9764 | 0.9756
Woree | 132 | QWRE | 0.9614 | 0.9754
Wotonga (Rail) | 132 | QWOT | 0.9581 | 0.9685
Wycarbah | 132 | QWCB | 0.9128 | 0.9061
Yarwun – Boat Creek (Ergon) | 132 | QYAE | 0.926 | 0.9282
Yarwun – Rio Tinto | 132 | QYAR | 0.9221 | 0.9266
Queensland Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2019-20 MLF | 2018-19 MLF
Barcaldine Solar at Lilyvale (132) | 132 | BARCSF1 | QLLV1B | QLLV | 0.8729 | 0.8934
Barron Gorge Power Station (PS) Unit 1 | 132 | BARRON-1 | QBGH1 | QBGH | 0.9134 | 0.9346
Barron Gorge PS Unit 2 | 132 | BARRON-2 | QBGH2 | QBGH | 0.9134 | 0.9346
Braemar PS Unit 1 | 275 | BRAEMAR1 | QBRA1 | QBRA | 0.9706 | 0.9709
Braemar PS Unit 2 | 275 | BRAEMAR2 | QBRA2 | QBRA | 0.9706 | 0.9709
Braemar PS Unit 3 | 275 | BRAEMAR3 | QBRA3 | QBRA | 0.9706 | 0.9709
Braemar Stage 2 PS Unit 5 | 275 | BRAEMAR5 | QBRA5B | QBRA | 0.9706 | 0.9709
Braemar Stage 2 PS Unit 6 | 275 | BRAEMAR6 | QBRA6B | QBRA | 0.9706 | 0.9709
Braemar Stage 2 PS Unit 7 | 275 | BRAEMAR7 | QBRA7B | QBRA | 0.9706 | 0.9709
Callide PS Load | 132 | CALLNL1 | QCAX | QCAX | 0.9016 | 0.9048
Callide A PS Unit 4 | 132 | CALL_A_4 | QCAA4 | QCAA | 0.9015 | 0.9074
Callide A PS Unit 4 Load | 132 | CALLNL4 | QCAA2 | QCAA | 0.9015 | 0.9074
Callide B PS Unit 1 | 275 | CALL_B_1 | QCAB1 | QCAB | 0.9042 | 0.9069
Callide B PS Unit 2 | 275 | CALL_B_2 | QCAB2 | QCAB | 0.9042 | 0.9069
Callide C PS Unit 3 | 275 | CPP_3 | QCAC3 | QCAC | 0.9017 | 0.908
Callide C PS Unit 4 | 275 | CPP_4 | QCAC4 | QCAC | 0.9017 | 0.908
Clare Solar Farm | 132 | CLARESF1 | QCLA1C | QCLA | 0.8589 | 0.8727
Collinsville Solar Farm | 33 | CSPVPS1 | QCOS1C | QCOS | 0.8579 | 0.8719
Darling Downs PS | 275 | DDPS1 | QBRA8D | QBRA | 0.9706 | 0.9709
Darling Downs Solar Farm | 275 | DDSF1 | QBRS1D | QBRS | 0.9825 | 0.9812
Daydream Solar Farm | 33 | DAYDSF1 | QCCK1D | QCCK | 0.8488 | 0.8836
Gladstone PS (132 kV) Unit 3 | 132 | GSTONE3 | QGLD3 | QGLL | 0.9194 | 0.9206
Gladstone PS (132 kV) Unit 4 | 132 | GSTONE4 | QGLD4 | QGLL | 0.9194 | 0.9206
Gladstone PS (132kV) Load | 132 | GLADNL1 | QGLL | QGLL | 0.9194 | 0.9206
Gladstone PS (275 kV) Unit 1 | 275 | GSTONE1 | QGLD1 | QGLH | 0.9214 | 0.924
Gladstone PS (275 kV) Unit 2 | 275 | GSTONE2 | QGLD2 | QGLH | 0.9214 | 0.924
Gladstone PS (275 kV) Unit 5 | 275 | GSTONE5 | QGLD5 | QGLH | 0.9214 | 0.924
Gladstone PS (275 kV) Unit 6 | 275 | GSTONE6 | QGLD6 | QGLH | 0.9214 | 0.924
Hamilton Solar Farm | 33 | HAMISF1 | QSLD1H | QSLD | 0.8567 | 0.8741
Hayman Solar Farm | 33 | HAYMSF1 | QCCK2H | QCCK | 0.8488 | 0.8836
Hughenden Solar Farm | 132 | HUGSF1 | QROG2H | QROG | 0.8671 | 0.8842
Kareeya PS Unit 1 | 132 | KAREEYA1 | QKAH1 | QKYH | 0.9286 | 0.9523
Kareeya PS Unit 2 | 132 | KAREEYA2 | QKAH2 | QKYH | 0.9286 | 0.9523
Kareeya PS Unit 3 | 132 | KAREEYA3 | QKAH3 | QKYH | 0.9286 | 0.9523
Kareeya PS Unit 4 | 132 | KAREEYA4 | QKAH4 | QKYH | 0.9286 | 0.9523
Kidston Solar Farm | 132 | KSP1 | QROG1K | QROG | 0.8671 | 0.8842
Kogan Creek PS | 275 | KPP_1 | QBRA4K | QWDN | 0.9715 | 0.9743
Koombooloomba | 132 | KAREEYA5 | QKYH5 | QKYH | 0.9286 | 0.9523
Lilyvale Solar Farm | 132 | LILYSF1 | QBDR1L | QBDR | 0.8685 | 0.8855
Millmerran PS Unit 1 | 330 | MPP_1 | QBCK1 | QMLN | 0.9799 | 0.9812
Millmerran PS Unit 2 | 330 | MPP_2 | QBCK2 | QMLN | 0.9799 | 0.9812
Mount Emerald Wind farm | 275 | MEWF1 | QWKM1M | QWKM | 0.943 | 0.9515
Mt Stuart PS Unit 1 | 132 | MSTUART1 | QMSP1 | QMSP | 0.9024 | 0.8842
Mt Stuart PS Unit 2 | 132 | MSTUART2 | QMSP2 | QMSP | 0.9024 | 0.8842
Mt Stuart PS Unit 3 | 132 | MSTUART3 | QMSP3M | QMSP | 0.9024 | 0.8842
Oakey PS Unit 1 | 110 | OAKEY1 | QOKY1 | QOKY | 0.9589 | 0.9562
Oakey PS Unit 2 | 110 | OAKEY2 | QOKY2 | QOKY | 0.9589 | 0.9562
Ross River Solar Farm | 132 | RRSF1 | QROG3R | QROG | 0.8671 | 0.8842
Stanwell PS Load | 132 | STANNL1 | QSTX | QSTX | 0.9046 | 0.9104
Stanwell PS Unit 1 | 275 | STAN-1 | QSTN1 | QSTN | 0.9051 | 0.9075
Stanwell PS Unit 2 | 275 | STAN-2 | QSTN2 | QSTN | 0.9051 | 0.9075
Stanwell PS Unit 3 | 275 | STAN-3 | QSTN3 | QSTN | 0.9051 | 0.9075
Stanwell PS Unit 4 | 275 | STAN-4 | QSTN4 | QSTN | 0.9051 | 0.9075
Stapylton | 110 | STAPYLTON1 | QLGH4S | QLGH | 1.0117 | 1.0116
Sun Metals Solar Farm | 132 | SMCSF1 | QTZS1S | QTZS | 1.0026 | 1.0147
Swanbank E GT | 275 | SWAN_E | QSWE | QSWE | 1.0011 | 1.0009
Tarong North PS | 275 | TNPS1 | QTNT | QTNT | 0.9746 | 0.9755
Tarong PS Unit 1 | 275 | TARONG#1 | QTRN1 | QTRN | 0.9749 | 0.9752
Tarong PS Unit 2 | 275 | TARONG#2 | QTRN2 | QTRN | 0.9749 | 0.9752
Tarong PS Unit 3 | 275 | TARONG#3 | QTRN3 | QTRN | 0.9749 | 0.9752
Tarong PS Unit 4 | 275 | TARONG#4 | QTRN4 | QTRN | 0.9749 | 0.9752
Whitsunday Solar Farm | 33 | WHITSF1 | QSLS1W | QSLS | 0.8567 | 0.8741
Wivenhoe Generation Unit 1 | 275 | W/HOE#1 | QWIV1 | QWIV | 0.9936 | 0.9939
Wivenhoe Generation Unit 2 | 275 | W/HOE#2 | QWIV2 | QWIV | 0.9936 | 0.9939
Wivenhoe Pump 1 | 275 | PUMP1 | QWIP1 | QWIP | 0.9977 | 0.9974
Wivenhoe Pump 2 | 275 | PUMP2 | QWIP2 | QWIP | 0.9977 | 0.9974
Yabulu PS | 132 | YABULU | QTYP | QTYP | 0.9142 | 0.9346
Yarwun PS | 132 | YARWUN_1 | QYAG1R | QYAG | 0.9216 | 0.9245
Queensland Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2019-20 MLF | 2018-19 MLF
Baking Board Solar Farm (Chinchilla Solar Farm) | 132 | BAKING1 | QCHS1C | QCHS | 0.9863 | 0.9834
Barcaldine PS – Lilyvale | 132 | BARCALDN | QBCG | QBCG | 0.8864 | 0.9029
Browns Plains Landfill Gas PS | 110 | BPLANDF1 | QLGH3B | QLGH | 1.0117 | 1.0116
Childers Solar Farm | 132 | CHILDSF1 | QTBS1C | QTBS | 0.9528 | 0.9511
Columboola – Condamine PS | 132 | CPSA | QCND1C | QCND | 0.9909 | 0.9882
Daandine PS | 110 | DAANDINE | QTKM1 | QTKM | 0.9849 | 0.9867
Emerald Solar Farm | 66 | EMERASF1 | QLIS1E | QLIS | 0.8705 | 0.8778
German Creek Generator | 66 | GERMCRK | QLIL2 | QLIL | 0.9327 | 0.9451
Grosvenor PS At Moranbah 66 No 2 | 66 | GROSV2 | QMRV1G | QMRV | 0.9558 | 0.9683
Grosvenor PS At Moranbah 66 No 1 | 66 | GROSV1 | QMRN2G | QMRV | 0.9558 | 0.9683
Invicta Sugar Mill | 132 | INVICTA | QINV1I | QINV | 0.9039 | 0.966
Isis CSM | 132 | ICSM | QGNG1I | QTBC | 0.9723 | 0.9764
Longreach Solar Farm | 132 | LRSF1 | QLLV2L | QLLV | 0.8729 | 0.8934
Mackay GT | 33 | MACKAYGT | QMKG | QMKG | 0.9064 | 0.8863
Moranbah Generation | 11 | MORANBAH | QMRL1M | QMRL | 0.9626 | 0.9803
Moranbah North PS | 66 | MBAHNTH | QMRN1P | QMRN | 0.9693 | 0.9819
Oakey 1 Solar Farm | 110 | OAKEY1SF | QTKS1O | QTKS | 0.9825 | 0.9826
Oaky Creek Generator | 66 | OAKYCREK | QLIL1 | QLIL | 0.9327 | 0.9451
Oaky Creek 2 | 66 | OAKY2 | QLIL3O | QLIL | 0.9327 | 0.9451
Racecourse Mill PS 1 – 3 | 66 | RACOMIL1 | QMKA1R | QPIV | 0.971 | 0.9623
Rochedale Renewable Energy Plant | 110 | ROCHEDAL | QBMH2 | QBMH | 1.0122 | 1.0123
Rocky Point Gen (Loganlea 110kV) | 110 | RPCG | QLGH2 | QLGH | 1.0117 | 1.0116
Roghan Road Generator | 110 | EDLRGNRD | QSPN2 | QSPN | 1.0041 | 1.0042
Roma PS Unit 7 – Columboola | 132 | ROMA_7 | QRMA7 | QRMA | 0.9779 | 0.9729
Roma PS Unit 8 – Columboola | 132 | ROMA_8 | QRMA8 | QRMA | 0.9779 | 0.9729
Southbank Institute Of Technology | 110 | STHBKTEC | QCBD1S | QCBW | 1.0128 | 1.0122
Sunshine Coast Solar Farm | 132 | VALDORA1 | QPWD1S | QPWD | 1.002 | 1.0025
Susan River Solar Farm | 132 | SRSF1 | QTBS2S | QTBS | 0.9528 | 0.9511
Ti Tree BioReactor | 33 | TITREE | QABM1T | QABM | 1.0027 | 1.0015
Whitwood Rd Renewable Energy Plant | 110 | WHIT1 | QSBK1 | QBKS | 1.0007 | 1.0001
Windy Hill Wind Farm | 66 | WHILL1 | QTUL | QTUL | 0.9836 | 0.9966
Wivenhoe Small Hydro | 110 | WIVENSH | QABR1 | QABR | 1.0044 | 0.9968
Yabulu Steam Turbine (Garbutt 66kV) | 66 | YABULU2 | QGAR1 | QYST | 0.9185 | 0.9495

## New South Wales
New South Wales (regional reference node is Sydney West 330 kV)
New South Wales Loads
Location | Voltage (kV) | TNI | 2019-20 MLF | 2018-19 MLF
Alexandria | 33 | NALX | 1.004 | 1.0093
Albury | 132 | NALB | 0.9808 | 1.0792
Alcan | 132 | NALC | 0.9931 | 0.9932
Armidale | 66 | NAR1 | 0.939 | 0.8957
Australian Newsprint Mill | 132 | NANM | 0.9852 | 1.081
Balranald | 22 | NBAL | 0.9174 | 1.1047
Beaconsfield North | 132 | NBFN | 1.0034 | 1.0084
Beaconsfield South | 132 | NBFS | 1.0035 | 1.0084
Belmore Park | 132 | NBM1 | 1.0037 | 1.0085
Beresfield | 33 | NBRF | 0.9935 | 0.9957
Beryl | 66 | NBER | 0.971 | 1.0062
BHP (Waratah) | 132 | NWR1 | 0.9906 | 0.9893
Boambee South | 132 | NWST | 0.9624 | 0.9125
Boggabri East | 132 | NBGE | 0.9892 | 0.9692
Boggabri North | 132 | NBGN | 0.9902 | 0.9692
Brandy Hill | 11 | NBHL | 0.9939 | 0.9935
Broken Hill | 22 | NBKG | 0.8654 | 1.0603
Broken Hill | 220 | NBKH | 0.8452 | 1.0486
Bunnerong | 132 | NBG1 | 1.0033 | 1.0081
Bunnerong | 33 | NBG3 | 1.0056 | 1.0103
Burrinjuck | 132 | NBU2 | 0.9742 | 1.0155
Canterbury | 33 | NCTB | 1.012 | 1.0136
Carlingford | 132 | NCAR | 1.001 | 1.0033
Casino | 132 | NCSN | 0.9592 | 0.896
Charmhaven | 11 | NCHM | 0.9948 | 0.993
Chullora | 132 | NCHU | 1.0021 | 1.0076
Coffs Harbour | 66 | NCH1 | 0.9586 | 0.9072
Coleambally | 132 | NCLY | 0.9526 | 1.0783
Cooma | 66 | NCMA | 0.981 | 1.0307
Cooma (AusNet Services) | 66 | NCM2 | 0.981 | 1.0307
Croydon | 11 | NCRD | 1.0178 | 1.0089
Cowra | 66 | NCW8 | 1.032 | 1.0411
Dapto (Endeavour Energy) | 132 | NDT1 | 0.9931 | 1.0037
Dapto (Essential Energy) | 132 | NDT2 | 0.9931 | 1.0037
Darlington Point | 132 | NDNT | 0.9634 | 1.0764
Deniliquin | 66 | NDN7 | 0.9826 | 1.1081
Dorrigo | 132 | NDOR | 0.9566 | 0.907
Drummoyne | 11 | NDRM | 1.0204 | 1.0087
Dunoon | 132 | NDUN | 0.9667 | 0.8822
Far North VTN |  | NEV1 | 0.9721 | 0.9654
Finley | 66 | NFNY | 0.9928 | 1.1441
Forbes | 66 | NFB2 | 1.0438 | 1.0429
Gadara | 132 | NGAD | 0.9846 | 1.0504
Glen Innes | 66 | NGLN | 0.9199 | 0.892
Gosford | 66 | NGF3 | 1.0035 | 1.0011
Gosford | 33 | NGSF | 1.0043 | 1.0021
Green Square | 11 | NGSQ | 1.006 | 1.0098
Griffith | 33 | NGRF | 0.9796 | 1.0929
Gunnedah | 66 | NGN2 | 0.9863 | 0.9579
Haymarket | 132 | NHYM | 1.0036 | 1.0084
Heron's Creek | 132 | NHNC | 1.0115 | 0.9885
Holroyd | 132 | NHLD | 1.0025 | 1
Hurstville North | 11 | NHVN | 1.004 | 1.0068
Homebush Bay | 11 | NHBB | 1.0184 | 1.011
Ilford | 132 | NLFD | 0.9665 | 0.9901
Ingleburn | 66 | NING | 0.9973 | 1.0006
Inverell | 66 | NNVL | 0.9301 | 0.9063
Kemps Creek | 330 | NKCK | 0.9944 | 0.9972
Kempsey | 66 | NKS2 | 0.9834 | 0.951
Kempsey | 33 | NKS3 | 0.9929 | 0.9542
Koolkhan | 66 | NKL6 | 0.9731 | 0.9174
Kurnell | 132 | NKN1 | 1.0014 | 1.0054
Kogarah | 11 | NKOG | 1.0062 | 1.009
Kurri | 33 | NKU3 | 0.9958 | 0.9961
Kurri | 11 | NKU1 | 0.994 | 0.994
Kurri – Dual MLF (Generation) | 132 | NKUR | 0.9948 | 0.9913
Kurri – Dual MLF (Load) | 132 | NKUR | 0.9948 | 0.9934
Lake Munmorah | 132 | NMUN | 0.988 | 0.9835
Lane Cove | 132 | NLCV | 1.0151 | 1.0083
Leichhardt | 11 | NLDT | 1.0173 | 1.0103
Liddell | 33 | NLD3 | 0.9653 | 0.9596
Lismore | 132 | NLS2 | 1.0096 | 0.8965
Liverpool | 132 | NLP1 | 1.0009 | 1.0024
Macarthur | 132 | NMC1 | 0.9942 | 0.9987
Macarthur | 66 | NMC2 | 0.9958 | 1.0008
Macksville | 132 | NMCV | 0.9788 | 0.9305
Macquarie Park | 11 | NMQP | 1.03 | 1.0122
Manildra | 132 | NMLD | 1.0253 | 1.0223
Marrickville | 11 | NMKV | 1.0089 | 1.0138
Marulan (Endeavour Energy) | 132 | NMR1 | 1.0092 | 0.9977
Marulan (Essential Energy) | 132 | NMR2 | 1.0092 | 0.9977
Mason Park | 132 | NMPK | 1.0154 | 1.0084
Meadowbank | 11 | NMBK | 1.0192 | 1.0116
Molong | 132 | NMOL | 1.0275 | 1.0236
Moree | 66 | NMRE | 0.9707 | 0.9612
Morven | 132 | NMVN | 0.9772 | 1.0752
Mt Piper | 66 | NMP6 | 0.973 | 0.9734
Mudgee | 132 | NMDG | 0.9722 | 1.0039
Mullumbimby | 11 | NML1 | 0.9587 | 0.8642
Mullumbimby | 132 | NMLB | 0.9548 | 0.8591
Munmorah STS 33 | 33 | NMU3 | 0.9905 | 1.0058
Munyang | 11 | NMY1 | 0.9928 | 1.0256
Munyang | 33 | NMYG | 0.9928 | 1.0256
Murrumbateman | 132 | NMBM | 0.9802 | 1.0129
Murrumburrah | 66 | NMRU | 0.9919 | 1.0448
Muswellbrook | 132 | NMRK | 0.9726 | 0.9659
Nambucca Heads | 132 | NNAM | 0.9758 | 0.9243
Narrabri | 66 | NNB2 | 1.0026 | 0.9789
Newcastle | 132 | NNEW | 0.9904 | 0.9901
North of Broken Bay VTN |  | NEV2 | 0.9945 | 0.9933
Orange | 66 | NRGE | 1.0303 | 1.0343
Orange North | 132 | NONO | 1.0296 | 1.0322
Ourimbah | 33 | NORB | 1.0003 | 0.9986
Ourimbah | 132 | NOR1 | 0.999 | 0.9972
Ourimbah | 66 | NOR6 | 0.9997 | 0.9972
Panorama | 66 | NPMA | 1.0167 | 1.0225
Parkes | 66 | NPK6 | 1.0386 | 1.0372
Parkes | 132 | NPKS | 1.0323 | 1.0336
Peakhurst | 33 | NPHT | 1.003 | 1.0063
Pt Macquarie | 33 | NPMQ | 1.0099 | 0.9783
Pyrmont | 33 | NPT3 | 1.0071 | 1.0092
Pyrmont | 132 | NPT1 | 1.004 | 1.0086
Queanbeyan 132 | 132 | NQBY | 0.9927 | 1.0457
Raleigh | 132 | NRAL | 0.9715 | 0.9166
Regentville | 132 | NRGV | 0.9981 | 0.9993
Rockdale (Ausgrid) | 11 | NRKD | 1.0047 | 1.0081
Rookwood Road | 132 | NRWR | 1.0021 | 1.0027
Rozelle | 132 | NRZH | 1.0174 | 1.0092
Rozelle | 33 | NRZL | 1.0172 | 1.0098
Snowy Adit | 132 | NSAD | 0.9777 | 1.0132
Somersby | 11 | NSMB | 1.0048 | 1.002
South of Broken Bay VTN |  | NEV3 | 1.0057 | 1.0062
St Peters | 11 | NSPT | 1.0068 | 1.0115
Stroud | 132 | NSRD | 1.0041 | 1.0022
Sydney East | 132 | NSE2 | 1.007 | 1.0049
Sydney North (Ausgrid) | 132 | NSN1 | 1.0045 | 1.0015
Sydney North (Endeavour Energy) | 132 | NSN2 | 1.0045 | 1.0015
Sydney South | 132 | NSYS | 1.0001 | 1.0036
Sydney West (Ausgrid) | 132 | NSW1 | 1.001 | 1.0033
Sydney West (Endeavour Energy) | 132 | NSW2 | 1.001 | 1.0033
Tamworth | 66 | NTA2 | 0.9592 | 0.9348
Taree (Essential Energy) | 132 | NTR2 | 1.0235 | 1.0105
Tenterfield | 132 | NTTF | 0.9392 | 0.8945
Terranora | 110 | NTNR | 0.9822 | 0.9223
Tomago | 330 | NTMG | 0.9909 | 0.9898
Tomago (Ausgrid) | 132 | NTME | 0.9929 | 0.9925
Tomago (Essential Energy) | 132 | NTMC | 0.9929 | 0.9925
Top Ryde | 11 | NTPR | 1.018 | 1.0091
Tuggerah | 132 | NTG3 | 0.9952 | 0.9935
Tumut | 66 | NTU2 | 0.9858 | 1.0438
Vales Pt. | 132 | NVP1 | 0.9902 | 0.9883
Vineyard | 132 | NVYD | 0.9997 | 0.9991
Wagga | 66 | NWG2 | 0.9767 | 1.0616
Wagga North | 132 | NWGN | 0.9777 | 1.0642
Wagga North | 66 | NWG6 | 0.9783 | 1.0673
Wallerawang (Endeavour Energy) | 132 | NWW6 | 0.9733 | 0.9737
Wallerawang (Essential Energy) | 132 | NWW5 | 0.9733 | 0.9737
Wallerawang 66 (Essential Energy) | 66 | NWW4 | 0.974 | 0.9747
Wallerawang 66 | 66 | NWW7 | 0.974 | 0.9747
Wallerawang 330 PS Load | 330 | NWWP | 0.9737 | 0.9766
Wellington | 132 | NWL8 | 0.9834 | 0.9824
West Gosford | 11 | NGWF | 1.0054 | 1.0026
Williamsdale (Essential Energy) (Bogong) | 132 | NWD1 | 0.9853 | 1.0272
Wyong | 11 | NWYG | 0.9976 | 0.9958
Yanco | 33 | NYA3 | 0.9728 | 1.0833
Yass | 66 | NYS6 | 0.9807 | 1.0136
Yass | 132 | NYS1 | 0.9716 | 1.0054
New South Wales Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2019-20 MLF | 2018-19 MLF
Bayswater PS Unit 1 | 330 | BW01 | NBAY1 | NBAY | 0.9591 | 0.9538
Bayswater PS Unit 2 | 330 | BW02 | NBAY2 | NBAY | 0.9591 | 0.9538
Bayswater PS Unit 3 | 500 | BW03 | NBAY3 | NBYW | 0.9597 | 0.9555
Bayswater PS Unit 4 | 500 | BW04 | NBAY4 | NBYW | 0.9597 | 0.9555
Beryl Solar Farm | 66 | BERYLSF1 | NBES1B | NBES | 0.9243 | 0.9654
Blowering | 132 | BLOWERNG | NBLW8 | NBLW | 0.941 | 0.99
Bodangora Wind Farm | 132 | BODWF1 | NBOD1B | NBOD | 0.9494 | 0.9819
Broken Hill GT 1 | 22 | GB01 | NBKG1 | NBKG | 0.8654 | 1.0603
Broken Hill Solar Farm | 22 | BROKENH1 | NBK11B | NBK1 | 0.7579 | 0.9789
Burrinjuck PS | 132 | BURRIN | NBUK | NBUK | 0.9684 | 1.0124
Capital Wind Farm | 330 | CAPTL_WF | NCWF1R | NCWF | 0.9702 | 1.01
Coleambally Solar Farm | 132 | COLEASF1 | NCLS1C | NCLS | 0.8705 | 1.0019
Colongra PS Unit 1 | 330 | CG1 | NCLG1D | NCLG | 0.9849 | 0.9827
Colongra PS Unit 2 | 330 | CG2 | NCLG2D | NCLG | 0.9849 | 0.9827
Colongra PS Unit 3 | 330 | CG3 | NCLG3D | NCLG | 0.9849 | 0.9827
Colongra PS Unit 4 | 330 | CG4 | NCLG4D | NCLG | 0.9849 | 0.9827
Crookwell 2 Wind Farm | 330 | CROOKWF2 | NCKW1C | NCKW | 0.9746 | 0.9963
Eraring 330 PS Unit 1 | 330 | ER01 | NEPS1 | NEP3 | 0.9835 | 0.9828
Eraring 330 PS Unit 2 | 330 | ER02 | NEPS2 | NEP3 | 0.9835 | 0.9828
Eraring 500 PS Unit 3 | 500 | ER03 | NEPS3 | NEPS | 0.9844 | 0.9853
Eraring 500 PS Unit 4 | 500 | ER04 | NEPS4 | NEPS | 0.9844 | 0.9853
Eraring PS Load | 500 | ERNL1 | NEPSL | NEPS | 0.9844 | 0.9853
Griffith Solar Farm | 33 | GRIFSF1 | NGG11G | NGG1 | 0.9081 | 1.0603
Gullen Range Solar Farm | 330 | GULLRSF1 | NGUR2G | NGUR | 0.9695 | 0.9959
Gullen Range Wind Farm | 330 | GULLRWF1 | NGUR1G | NGUR | 0.9695 | 0.9959
Guthega | 132 | GUTHEGA | NGUT8 | NGUT | 0.9026 | 0.9537
Guthega Auxiliary Supply | 11 | GUTHNL1 | NMY11 | NMY1 | 0.9928 | 1.0256
Hume (New South Wales Share) | 132 | HUMENSW | NHUM | NHUM | 0.9625 | 1.0675
Kangaroo Valley – Bendeela (Shoalhaven) Generation – Dual MLF | 330 | SHGEN | NSHL | NSHN | 0.9778 | 0.9981
Kangaroo Valley (Shoalhaven) Pumps – Dual MLF | 330 | SHPUMP | NSHP1 | NSHN | 0.9964 | 1.0137
Liddell 330 PS Load | 330 | LIDDNL1 | NLDPL | NLDP | 0.9591 | 0.9537
Liddell 330 PS Unit 1 | 330 | LD01 | NLDP1 | NLDP | 0.9591 | 0.9537
Liddell 330 PS Unit 2 | 330 | LD02 | NLDP2 | NLDP | 0.9591 | 0.9537
Liddell 330 PS Unit 3 | 330 | LD03 | NLDP3 | NLDP | 0.9591 | 0.9537
Liddell 330 PS Unit 4 | 330 | LD04 | NLDP4 | NLDP | 0.9591 | 0.9537
Lower Tumut Generation – dual MLF | 330 | TUMUT3 | NLTS8 | NLTS | 0.9304 | 0.9954
Lower Tumut Pipeline Auxiliary | 66 | TUMT3NL3 | NTU2L3 | NTU2 | 0.9858 | 1.0438
Lower Tumut Pumps – dual MLF | 330 | SNOWYP | NLTS3 | NLTS | 1.0012 | 1.0545
Lower Tumut T2 Auxiliary | 66 | TUMT3NL1 | NTU2L1 | NTU2 | 0.9858 | 1.0438
Lower Tumut T4 Auxiliary | 66 | TUMT3NL2 | NTU2L2 | NTU2 | 0.9858 | 1.0438
Mt Piper PS Load | 330 | MPNL1 | NMPPL | NMTP | 0.9714 | 0.9738
Mt Piper PS Unit 1 | 330 | MP1 | NMTP1 | NMTP | 0.9714 | 0.9738
Mt Piper PS Unit 2 | 330 | MP2 | NMTP2 | NMTP | 0.9714 | 0.9738
Parkes Solar Farm | 66 | PARSF1 | NPG11P | NPG1 | 0.9812 | 0.9964
Sapphire Wind Farm | 330 | SAPHWF1 | NSAP1S | NSAP | 0.9294 | 0.8821
Silverton Wind Farm | 220 | STWF1 | NBKW1S | NBKW | 0.8438 | 1.0062
Upper Tumut | 330 | UPPTUMUT | NUTS8 | NUTS | 0.9534 | 1.0112
Uranquinty PS Unit 11 | 132 | URANQ11 | NURQ1U | NURQ | 0.8704 | 0.9609
Uranquinty PS Unit 12 | 132 | URANQ12 | NURQ2U | NURQ | 0.8704 | 0.9609
Uranquinty PS Unit 13 | 132 | URANQ13 | NURQ3U | NURQ | 0.8704 | 0.9609
Uranquinty PS Unit 14 | 132 | URANQ14 | NURQ4U | NURQ | 0.8704 | 0.9609
Vales Point 330 PS Load | 330 | VPNL1 | NVPPL | NVPP | 0.9864 | 0.9851
Vales Point 330 PS Unit 5 | 330 | VP5 | NVPP5 | NVPP | 0.9864 | 0.9851
Vales Point 330 PS Unit 6 | 330 | VP6 | NVPP6 | NVPP | 0.9864 | 0.9851
Woodlawn Wind Farm | 330 | WOODLWN1 | NCWF2W | NCWF | 0.9702 | 1.01
White Rock Wind Farm | 132 | WRWF1 | NWRK1W | NWRK | 0.839 | 0.8427
White Rock Solar Farm | 132 | WRSF1 | NWRK2W | NWRK | 0.839 | 0.8427
New South Wales Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2019-20 MLF | 2018-19 MLF
AGL Sita Landfill 1 | 132 | AGLSITA1 | NLP13K | NLP1 | 1.0009 | 1.0024
Appin Power Station | 66 | APPIN | NAPP1A | NAPP | 0.9954 | 1.001
Boco Rock Wind Farm | 132 | BOCORWF1 | NCMA3B | NBCO | 0.9556 | 1.0068
Broadwater PS | 132 | BWTR1 | NLS21B | NLS2 | 1.0096 | 0.8965
Brown Mountain | 66 | BROWNMT | NCMA1 | NCMA | 0.981 | 1.0307
Burrendong Hydro PS | 132 | BDONGHYD | NWL81B | NWL8 | 0.9834 | 0.9824
Campbelltown WSLC | 66 | WESTCBT1 | NING1C | NING | 0.9973 | 1.0006
Condong PS | 110 | CONDONG1 | NTNR1C | NTNR | 0.9822 | 0.9223
Copeton Hydro PS | 66 | COPTNHYD | NNVL1C | NNVL | 0.9301 | 0.9063
Cullerin Range Wind Farm | 132 | CULLRGWF | NYS11C | NYS1 | 0.9716 | 1.0054
Eastern Creek | 132 | EASTCRK | NSW21 | NSW2 | 1.001 | 1.0033
Eraring 330 BS UN (GT) | 330 | ERGT01 | NEP35B | NEP3 | 0.9835 | 0.9828
Glenbawn Hydro PS | 132 | GLBWNHYD | NMRK2G | NMRK | 0.9726 | 0.9659
Glenn Innes (Pindari PS) | 66 | PINDARI | NGLN1 | NGLN | 0.9199 | 0.892
Glennies Creek PS | 132 | GLENNCRK | NMRK3T | NMRK | 0.9726 | 0.9659
Grange Avenue | 132 | GRANGEAV | NVYD1 | NVYD | 0.9997 | 0.9991
Gunning Wind Farm | 132 | GUNNING1 | NYS12A | NYS1 | 0.9716 | 1.0054
Jindabyne Generator | 66 | JNDABNE1 | NCMA2 | NCMA | 0.981 | 1.0307
Jounama PS | 66 | JOUNAMA1 | NTU21J | NTU2 | 0.9858 | 1.0438
Keepit | 66 | KEEPIT | NKPT | NKPT | 0.9863 | 0.9579
Kincumber Landfill | 66 | KINCUM1 | NGF31K | NGF3 | 1.0035 | 1.0011
Liddell 33 – Hunter Valley GTs | 33 | HVGTS | NLD31 | NLD3 | 0.9653 | 0.9596
Liverpool 132 (Jacks Gully) | 132 | JACKSGUL | NLP11 | NSW2 | 1.001 | 1.0033
Lucas Heights II Power Plant | 132 | LUCASHGT | NSYS2G | NSYS | 1.0001 | 1.0036
Lucas Heights Stage 2 Power Station | 132 | LUCAS2S2 | NSYS1 | NSYS | 1.0001 | 1.0036
Manildra Solar Farm | 132 | MANSLR1 | NMLS1M | NMLS | 0.9818 | 0.9905
Moree Solar Farm | 66 | MOREESF1 | NMR41M | NMR4 | 0.8602 | 0.8988
Narromine Solar Farm | 132 | NASF1 | NWLS1N | NWLS | 0.9603 | 0.9708
Nine Willoughby | 132 | NINEWIL1 | NSE21R | NSE2 | 1.007 | 1.0049
Nyngan Solar Farm | 132 | NYNGAN1 | NWL82N | NWL8 | 0.9834 | 0.9824
Sithe (Holroyd Generation) | 132 | SITHE01 | NSYW1 | NHD2 | 1.0029 | 1
South Keswick Solar Farm | 132 | SKSF1 | NWLS2S | NWLS | 0.9603 | 0.9708
St George Leagues Club | 33 | STGEORG1 | NPHT1E | NPHT | 1.003 | 1.0063
Tahmoor PS | 132 | TAHMOOR1 | NLP12T | NLP1 | 1.0009 | 1.0024
Tallawarra PS | 132 | TALWA1 | NDT13T | NTWA | 0.9895 | 1.0001
Taralga Wind Farm | 132 | TARALGA1 | NMR22T | NMR2 | 1.0092 | 0.9977
Teralba Power Station | 132 | TERALBA | NNEW1 | NNEW | 0.9904 | 0.9901
The Drop Power Station | 66 | THEDROP1 | NFNY1D | NFNY | 0.9928 | 1.1441
Tower Power Plant | 132 | TOWER | NLP11T | NLP1 | 1.0009 | 1.0024
West Nowra | 132 | AGLNOW1 | NDT12 | NDT1 | 0.9931 | 1.0037
Wests Illawara Leagues Club | 132 | WESTILL1 | NDT14E | NDT1 | 0.9931 | 1.0037
Wilga Park A | 66 | WILGAPK | NNB21W | NNB2 | 1.0026 | 0.9789
Wilga Park B | 66 | WILGB01 | NNB22W | NNB2 | 1.0026 | 0.9789
Woodlawn Bioreactor | 132 | WDLNGN01 | NMR21W | NMR2 | 1.0092 | 0.9977
Woy Woy Landfill | 66 | WOYWOY1 | NGF32W | NGF3 | 1.0035 | 1.0011
Wyangala A PS | 66 | WYANGALA | NCW81A | NCW8 | 1.032 | 1.0411
Wyangala B PS | 66 | WYANGALB | NCW82B | NCW8 | 1.032 | 1.0411

## Australian Capital Territory
Australian Capital Territory (regional reference node is Sydney West 330 kV)
Australian Capital Territory Loads
Location | Voltage (kV) | TNI | 2019-20 MLF | 2018-19 MLF
Angle Crossing | 132 | AAXG | 0.989 | 1.0327
Belconnen | 132 | ABCN | 0.9809 | 1.0288
City East | 132 | ACTE | 0.9837 | 1.0322
Civic | 132 | ACVC | 0.9812 | 1.0295
East lake | 132 | AELK | 0.9825 | 1.0309
Gilmore | 132 | AGLM | 0.9812 | 1.0303
Gold Creek | 132 | AGCK | 0.9805 | 1.0283
Latham | 132 | ALTM | 0.98 | 1.0276
Telopea Park | 132 | ATLP | 0.9833 | 1.032
Theodore | 132 | ATDR | 0.9805 | 1.0293
Wanniassa | 132 | AWSA | 0.9814 | 1.0304
Woden | 132 | AWDN | 0.9805 | 1.0296
ACT VTN | 132 | AAVT | 0.9815 | 1.03
Queanbeyan (ACTEW) | 66 | AQB1 | 0.9903 | 1.0438
Queanbeyan (Essential Energy) | 66 | AQB2 | 0.9903 | 1.0438
Australian Capital Territory Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2019-20 MLF | 2018-19 MLF
Capital East Solar Farm | 66 | CESF1 | AQB21C | AQB2 | 0.9903 | 1.0438
Mugga Lane Solar Farm | 132 | MLSP1 | ACA12M | AMS1 | 0.9651 | 1.02
Royalla Solar Farm | 132 | ROYALLA1 | ACA11R | ARS1 | 0.9645 | 1.0178

## Victoria
Victoria (regional reference node is Thomastown 66 kV)
Victoria Loads
Location | Voltage (kV) | TNI | 2019-20 MLF | 2018-19 MLF
Altona | 66 | VATS | 1.0032 | 1.0054
Altona | 220 | VAT2 | 0.9945 | 1.0018
Ballarat | 66 | VBAT | 0.9759 | 1.0016
Bendigo | 66 | VBE6 | 1.0035 | 1.0136
Bendigo | 22 | VBE2 | 1.0045 | 1.0163
BHP Western Port | 220 | VJLA | 0.9898 | 0.9944
Brooklyn (Jemena) | 22 | VBL2 | 1.0008 | 1.0051
Brooklyn (Jemena) | 66 | VBL6 | 1.0027 | 1.0042
Brooklyn (POWERCOR) | 22 | VBL3 | 1.0008 | 1.0051
Brooklyn (POWERCOR) | 66 | VBL7 | 1.0027 | 1.0042
Brunswick (CitiPower) | 22 | VBT2 | 0.9974 | 1.0008
Brunswick (Jemena) | 22 | VBTS | 0.9974 | 1.0008
Brunswick 66 (CitiPower) | 66 | VBT6 | 0.9958 | 0.9992
Cranbourne | 220 | VCB2 | 0.9881 | 0.9935
Cranbourne (AusNet Services) | 66 | VCBT | 0.9911 | 0.9957
Cranbourne (United Energy) | 66 | VCB5 | 0.9911 | 0.9957
Deer Park | 66 | VDPT | 0.9983 | 1.0038
East Rowville (AusNet Services) | 66 | VER2 | 0.9944 | 0.9956
East Rowville (United Energy) | 66 | VERT | 0.9944 | 0.9956
Fishermens Bend (CITIPOWER) | 66 | VFBT | 0.9992 | 1.0034
Fishermens Bend (POWERCOR) | 66 | VFB2 | 0.9992 | 1.0034
Fosterville | 220 | VFVT | 1.0026 | 1.0096
Geelong | 66 | VGT6 | 0.9911 | 1.0002
Glenrowan | 66 | VGNT | 1.0188 | 0.9903
Heatherton | 66 | VHTS | 0.997 | 1.0001
Heywood | 22 | VHY2 | 0.989 | 1.0028
Horsham | 66 | VHOT | 0.933 | 0.9957
Keilor (Jemena) | 66 | VKT2 | 0.9988 | 1.0024
Keilor (POWERCOR) | 66 | VKTS | 0.9988 | 1.0024
Kerang | 22 | VKG2 | 0.9949 | 1.0292
Kerang | 66 | VKG6 | 0.9854 | 1.0192
Khancoban | 330 | NKHN | 1.0075 | 0.9459
Loy Yang Substation | 66 | VLY6 | 0.9757 | 0.9822
Malvern | 22 | VMT2 | 0.9943 | 0.9983
Malvern | 66 | VMT6 | 0.9932 | 0.9971
Morwell Power Station Units 1 to 3 | 66 | VMWG | 0.9724 | 0.9816
Morwell PS (G4&5) | 11 | VMWP | 0.977 | 0.9817
Morwell TS | 66 | VMWT | 0.9938 | 0.9879
Mt Beauty | 66 | VMBT | 1.0187 | 0.9882
Portland | 500 | VAPD | 0.9924 | 1.0058
Pt Henry | 220 | VPTH | 0.9856 | 0.998
Red Cliffs | 22 | VRC2 | 0.9331 | 1.0129
Red Cliffs | 66 | VRC6 | 0.916 | 1.0062
Red Cliffs (Essential Energy) | 66 | VRCA | 0.916 | 1.0062
Richmond | 22 | VRT2 | 0.9959 | 0.9996
Richmond (CITIPOWER) | 66 | VRT7 | 0.9972 | 1.0011
Richmond (United Energy) | 66 | VRT6 | 0.9972 | 1.0011
Ringwood (AusNet Services) | 22 | VRW3 | 0.9973 | 1.0007
Ringwood (AusNet Services) | 66 | VRW7 | 1.0003 | 1.0012
Ringwood (United Energy) | 22 | VRW2 | 0.9973 | 1.0007
Ringwood (United Energy) | 66 | VRW6 | 1.0003 | 1.0012
Shepparton | 66 | VSHT | 1.0206 | 1.0002
South Morang (Jemena) | 66 | VSM6 | 0.9941 | 0.9979
South Morang (AusNet Services) | 66 | VSMT | 0.9941 | 0.9979
Springvale (CITIPOWER) | 66 | VSVT | 0.9987 | 0.9986
Springvale (United Energy) | 66 | VSV2 | 0.9987 | 0.9986
Templestowe (CITIPOWER) | 66 | VTS2 | 0.9985 | 1.0006
Templestowe (Jemena) | 66 | VTST | 0.9985 | 1.0006
Templestowe (AusNet Services) | 66 | VTS3 | 0.9985 | 1.0006
Templestowe (United Energy) | 66 | VTS4 | 0.9985 | 1.0006
Terang | 66 | VTGT | 1.0071 | 1.0149
Thomastown (Jemena) | 66 | VTTS | 1 | 1
Thomastown (AusNet Services) | 66 | VTT2 | 1 | 1
Tyabb | 66 | VTBT | 0.991 | 0.9958
Wemen 66 (Essential Energy) | 66 | VWEA | 0.9234 | 1.0066
Wemen TS | 66 | VWET | 0.9234 | 1.0066
West Melbourne | 22 | VWM2 | 0.9987 | 1.0019
West Melbourne (CITIPOWER) | 66 | VWM7 | 0.9994 | 1.0029
West Melbourne (Jemena) | 66 | VWM6 | 0.9994 | 1.0029
Wodonga | 22 | VWO2 | 1.0158 | 0.9735
Wodonga | 66 | VWO6 | 1.0111 | 0.9712
Yallourn | 11 | VYP1 | 0.9561 | 0.9584
Victoria Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2019-20 MLF | 2018-19 MLF
Ararat Wind Farm | 220 | ARWF1 | VART1A | VART | 0.903 | 0.9691
Ballarat BESS - Generation | 22 | BALBG1 | VBA21B | VBA2 | 0.9647 | 0.9948
Ballarat BESS - Load | 22 | BALBL1 | VBA22B | VBA2 | 0.9864 | 1.0085
Banimboola | 220 | BAPS | VDPS2 | VDPS | 0.9472 | 0.9249
Basslink (Loy Yang Power Station Switchyard) Victoria to Tasmania | 500 | BLNKVIC | VLYP13 | VTBL | 0.9789 | 0.9839
Basslink (Loy Yang Power Station Switchyard) Tasmania to Victoria | 500 | BLNKVIC | VLYP13 | VTBL | 0.9728 | 0.9839
Coonooer Bridge Wind Farm | 66 | CBWF1 | VBE61C | VBE6 | 1.0035 | 1.0136
Crowlands Wind Farm | 220 | CROWLWF1 | VCWL1C | VCWL | 0.9249 | 0.9803
Dartmouth PS | 220 | DARTM1 | VDPS | VDPS | 0.9472 | 0.9249
Eildon PS Unit 1 | 220 | EILDON1 | VEPS1 | VEPS | 0.9855 | 0.9782
Eildon PS Unit 2 | 220 | EILDON2 | VEPS2 | VEPS | 0.9855 | 0.9782
Gannawarra BESS (Generation) | 66 | GANNBG1 | VKGB1G | VKGB | 0.9679 | 1.007
Gannawarra BESS (Load) | 66 | GANNBL1 | VKGB2G | VKGL | 1.0257 | 1.0311
Hazelwood PS Load | 220 | HWPNL1 | VHWPL | VHWP | 0.9767 | 0.9813
Jeeralang A PS Unit 1 | 220 | JLA01 | VJLGA1 | VJLG | 0.9733 | 0.9783
Jeeralang A PS Unit 2 | 220 | JLA02 | VJLGA2 | VJLG | 0.9733 | 0.9783
Jeeralang A PS Unit 3 | 220 | JLA03 | VJLGA3 | VJLG | 0.9733 | 0.9783
Jeeralang A PS Unit 4 | 220 | JLA04 | VJLGA4 | VJLG | 0.9733 | 0.9783
Jeeralang B PS Unit 1 | 220 | JLB01 | VJLGB1 | VJLG | 0.9733 | 0.9783
Jeeralang B PS Unit 2 | 220 | JLB02 | VJLGB2 | VJLG | 0.9733 | 0.9783
Jeeralang B PS Unit 3 | 220 | JLB03 | VJLGB3 | VJLG | 0.9733 | 0.9783
Jindabyne pump at Guthega | 132 | SNOWYGJP | NGJP | NGJP | 1.0254 | 1.0124
Kiata Wind Farm | 66 | KIATAWF1 | VHOG1K | VHOG | 0.918 | 0.9911
Laverton PS (LNGS1) | 220 | LNGS1 | VAT21L | VAT2 | 0.9945 | 1.0018
Laverton PS (LNGS2) | 220 | LNGS2 | VAT22L | VAT2 | 0.9945 | 1.0018
Loy Yang A PS Load | 500 | LYNL1 | VLYPL | VLYP | 0.9754 | 0.9798
Loy Yang A PS Unit 1 | 500 | LYA1 | VLYP1 | VLYP | 0.9754 | 0.9798
Loy Yang A PS Unit 2 | 500 | LYA2 | VLYP2 | VLYP | 0.9754 | 0.9798
Loy Yang A PS Unit 3 | 500 | LYA3 | VLYP3 | VLYP | 0.9754 | 0.9798
Loy Yang A PS Unit 4 | 500 | LYA4 | VLYP4 | VLYP | 0.9754 | 0.9798
Loy Yang B PS Unit 1 | 500 | LOYYB1 | VLYP5 | VLYP | 0.9754 | 0.9798
Loy Yang B PS Unit 2 | 500 | LOYYB2 | VLYP6 | VLYP | 0.9754 | 0.9798
MacArthur Wind Farm | 500 | MACARTH1 | VTRT1M | VTRT | 0.9815 | 0.9971
McKay Creek / Bogong PS | 220 | MCKAY1 | VMKP1 | VT14 | 0.9601 | 0.9265
Mortlake Unit 1 | 500 | MORTLK11 | VM0P1O | VM0P | 0.9855 | 0.9961
Mortlake Unit 2 | 500 | MORTLK12 | VM0P2O | VM0P | 0.9855 | 0.9961
Mt Mercer Windfarm | 220 | MERCER01 | VELT1M | VELT | 0.9668 | 0.9909
Murray | 330 | MURRAY | NMUR8 | NMUR | 0.9516 | 0.9069
Murray (Geehi Tee off Auxiliary) | 330 | MURAYNL3 | NMURL3 | NMUR | 0.9516 | 0.9069
Murray Power Station M1 Auxiliary | 330 | MURAYNL1 | NMURL1 | NMUR | 0.9516 | 0.9069
Murray Power Station M2 Auxiliary | 330 | MURAYNL2 | NMURL2 | NMUR | 0.9516 | 0.9069
Murra Warra Wind Farm | 220 | MUWAWF1 | VMRT1M | VMRT | 0.8852 | 0.9549
Newport PS | 220 | NPS | VNPS | VNPS | 0.9922 | 0.9962
Numurkah Solar Farm | 66 | NUMURSF1 | VSHS1N | VSHS | 0.9897 | 0.982
Salt Creek Wind Farm | 66 | SALTCRK1 | VTG61S | VTG6 | 0.9731 | 1.0076
Valley Power Unit 1 | 500 | VPGS1 | VLYP07 | VLYP | 0.9754 | 0.9798
Valley Power Unit 2 | 500 | VPGS2 | VLYP08 | VLYP | 0.9754 | 0.9798
Valley Power Unit 3 | 500 | VPGS3 | VLYP09 | VLYP | 0.9754 | 0.9798
Valley Power Unit 4 | 500 | VPGS4 | VLYP010 | VLYP | 0.9754 | 0.9798
Valley Power Unit 5 | 500 | VPGS5 | VLYP011 | VLYP | 0.9754 | 0.9798
Valley Power Unit 6 | 500 | VPGS6 | VLYP012 | VLYP | 0.9754 | 0.9798
Waubra Wind Farm | 220 | WAUBRAWF | VWBT1A | VWBT | 0.9326 | 0.9784
Wemen Solar Farm | 66 | WEMENSF1 | VWES2W | VWES | 0.8261 | 0.9262
West Kiewa PS Unit 1 | 220 | WKIEWA1 | VWKP1 | VWKP | 0.9986 | 0.9607
West Kiewa PS Unit 2 | 220 | WKIEWA2 | VWKP2 | VWKP | 0.9986 | 0.9607
Yallourn W PS 220 Load | 220 | YWNL1 | VYP2L | VYP2 | 0.9544 | 0.9573
Yallourn W PS 220 Unit 1 | 220 | YWPS1 | VYP21 | VYP3 | 0.965 | 0.9696
Yallourn W PS 220 Unit 2 | 220 | YWPS2 | VYP22 | VYP2 | 0.9544 | 0.9573
Yallourn W PS 220 Unit 3 | 220 | YWPS3 | VYP23 | VYP2 | 0.9544 | 0.9573
Yallourn W PS 220 Unit 4 | 220 | YWPS4 | VYP24 | VYP2 | 0.9544 | 0.9573
Victoria Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2019-20 MLF | 2018-19 MLF
Bairnsdale Power Station | 66 | BDL01 | VMWT2 | VBDL | 0.9871 | 0.9866
Bairnsdale Power Station Generator Unit 2 | 66 | BDL02 | VMWT3 | VBDL | 0.9871 | 0.9866
Bald Hills Wind Farm | 66 | BALDHWF1 | VMWT9B | VMWT | 0.9938 | 0.9879
Ballarat Health Services | 66 | BBASEHOS | VBAT1H | VBAT | 0.9759 | 1.0016
Bannerton Solar Farm | 66 | BANN1 | VWES1B | VWES | 0.8261 | 0.9262
Broadmeadows Power Plant | 66 | BROADMDW | VTTS2B | VTTS | 1 | 1
Brooklyn Landfill & Recycling Facility | 66 | BROOKLYN | VBL61 | VBL6 | 1.0027 | 1.0042
Challicum Hills Wind Farm | 66 | CHALLHWF | VHOT1 | VHOT | 0.933 | 0.9957
Chepstowe Wind Farm | 66 | CHPSTWF1 | VBAT3C | VBAT | 0.9759 | 1.0016
Clayton Landfill Gas Power Station | 66 | CLAYTON | VSV21B | VSV2 | 0.9987 | 0.9986
Clover PS | 66 | CLOVER | VMBT1 | VMBT | 1.0187 | 0.9882
Codrington Wind Farm | 66 | CODRNGTON | VTGT2C | VTGT | 1.0071 | 1.0149
Corio LFG PS | 66 | CORIO1 | VGT61C | VGT6 | 0.9911 | 1.0002
Eildon Hydro PS | 66 | EILDON3 | VTT22E | VSMT | 0.9941 | 0.9979
Gannawarra Solar Farm | 66 | GANNSF1 | VKGS1G | VKGS | 0.9014 | 0.9729
Glenmaggie Hydro PS | 66 | GLENMAG1 | VMWT8G | VMWT | 0.9938 | 0.9879
Hallam Mini Hydro | 66 | HLMSEW01 | VER21H | VER2 | 0.9944 | 0.9956
Hallam Road Renewable Energy Facility | 66 | HALAMRD1 | VER22L | VER2 | 0.9944 | 0.9956
Hepburn Community Wind Farm | 66 | HEPWIND1 | VBAT2L | VBAT | 0.9759 | 1.0016
Hume (Victorian Share) | 66 | HUMEV | VHUM | VHUM | 0.9513 | 0.9498
Karadoc Solar Farm | 66 | KARSF1 | VRCS1K | VRCS | 0.8167 | 0.9472
Longford | 66 | LONGFORD | VMWT6 | VMWT | 0.9938 | 0.9879
Maroona Wind Farm | 66 | MAROOWF1 | VBAT5M | VBAT | 0.9759 | 1.0016
Mortons Lane Wind Farm | 66 | MLWF1 | VTGT4M | VTGT | 1.0071 | 1.0149
Mt Gellibrand Windfarm | 66 | MTGELWF1 | VGTW1M | VGTW | 0.9864 | 0.9989
Oaklands Hill Wind Farm | 66 | OAKLAND1 | VTGT3A | VTGT | 1.0071 | 1.0149
Rubicon Mountain Streams Station | 66 | RUBICON | VTT21R | VSMT | 0.9941 | 0.9979
Shepparton Waste Gas | 66 | SHEP1 | VSHT2S | VSHT | 1.0206 | 1.0002
Somerton Power Station | 66 | AGLSOM | VTTS1 | VSOM | 0.9915 | 0.9963
Springvale Power Plant | 66 | SVALE1 | VSV22S | VSV2 | 0.9987 | 0.9986
Tatura | 66 | TATURA01 | VSHT1 | VSHT | 1.0206 | 1.0002
Timboon West Wind Farm | 66 | TIMWEST | VTGT5T | VTGT | 0.9923 | 1.0149
Toora Wind Farm | 66 | TOORAWF | VMWT5 | VMWT | 0.9938 | 0.9879
Traralgon NSS | 66 | TGNSS1 | VMWT1T | VMWT | 0.9938 | 0.9879
William Hovell Hydro PS | 66 | WILLHOV1 | VW061W | VGNT | 1.0188 | 0.9903
Wollert Renewable Energy Facility | 66 | WOLLERT1 | VSMT1W | VSMT | 0.9941 | 0.9979
Wonthaggi Wind Farm | 66 | WONWP | VMWT7 | VMWT | 0.9938 | 0.9879
Yaloak South Wind Farm | 66 | YSWF1 | VBAT4Y | VBAT | 0.9759 | 1.0016
Yambuk Wind Farm | 66 | YAMBUKWF | VTGT1 | VTGT | 1.0071 | 1.0149
Yarrawonga Hydro PS | 66 | YWNGAHYD | VSHT3Y | VSHT | 1.0206 | 1.0002
Yawong Wind Farm | 66 | YAWWF1 | VBE62Y | VBE6 | 1.0035 | 1.0136

## South Australia
South Australia (regional reference node is Torrens Island PS 66 kV)
South Australia Loads
Location | Voltage (kV) | TNI | 2019-20 MLF | 2018-19 MLF
Angas Creek | 33 | SANC | 1.0098 | 1.008
Ardrossan West | 33 | SARW | 0.9416 | 0.9582
Back Callington | 11 | SBAC | 1.0136 | 1.0094
Baroota | 33 | SBAR | 0.9955 | 0.9997
Berri | 66 | SBER | 1.1301 | 1.0072
Berri (POWERCOR) | 66 | SBE1 | 1.1301 | 1.0072
Blanche | 33 | SBLA | 1.0294 | 0.9693
Blanche (POWERCOR) | 33 | SBL1 | 1.0294 | 0.9693
Brinkworth | 33 | SBRK | 0.9937 | 0.9967
Bungama Industrial | 33 | SBUN | 0.9887 | 0.9939
Bungama Rural | 33 | SBUR | 0.9972 | 1.0026
City West | 66 | SACR | 1.0072 | 1.0044
Clare North | 33 | SCLN | 0.992 | 0.9924
Dalrymple | 33 | SDAL | 0.9065 | 0.9258
Davenport | 275 | SDAV | 0.9934 | 0.9928
Davenport | 33 | SDAW | 0.9954 | 0.9941
Dorrien | 33 | SDRN | 1.0049 | 1.0064
East Terrace | 66 | SETC | 1.002 | 1.0036
Happy Valley | 66 | SHVA | 1.0049 | 1.0054
Hummocks | 33 | SHUM | 0.9594 | 0.9724
Kadina East | 33 | SKAD | 0.965 | 0.9791
Kanmantoo | 11 | SKAN | 1.0136 | 1.0087
Keith | 33 | SKET | 1.0259 | 0.9952
Kilburn | 66 | SKLB | 0.9998 | 1.0019
Kincraig | 33 | SKNC | 1.0248 | 0.9799
Lefevre | 66 | SLFE | 0.9997 | 0.9999
Leigh Creek | 33 | SLCC | 1.054 | 1.0506
Leigh Creek South | 33 | SLCS | 1.0601 | 1.0549
Magill | 66 | SMAG | 1.0041 | 1.0039
Mannum | 33 | SMAN | 1.0148 | 1.009
Mannum – Adelaide Pipeline 1 | 3.3 | SMA1 | 1.0177 | 1.0135
Mannum – Adelaide Pipeline 2 | 3.3 | SMA2 | 1.0156 | 1.0122
Mannum – Adelaide Pipeline 3 | 3.3 | SMA3 | 1.0152 | 1.0121
Middleback | 33 | SMDL | 0.9972 | 0.9996
Middleback | 132 | SMBK | 0.9955 | 1.0014
Millbrook | 132 | SMLB | 1.0037 | 1.004
Mobilong | 33 | SMBL | 1.0141 | 1.0079
Morgan – Whyalla Pipeline 1 | 3.3 | SMW1 | 1.0529 | 1.0023
Morgan – Whyalla Pipeline 2 | 3.3 | SMW2 | 1.0296 | 0.9991
Morgan – Whyalla Pipeline 3 | 3.3 | SMW3 | 1.0077 | 0.9947
Morgan – Whyalla Pipeline 4 | 3.3 | SMW4 | 0.9966 | 0.9919
Morphett Vale East | 66 | SMVE | 1.0049 | 1.0068
Mount Barker South | 66 | SMBS | 1.0068 | 1.005
Mt Barker | 66 | SMBA | 1.0058 | 1.0043
Mt Gambier | 33 | SMGA | 1.0325 | 0.9708
Mt Gunson South | 132 | SMGS | 1.1306 | 1.0257
Mt Gunson | 33 | SMGU | 1.1146 | 1.0257
Munno Para | 66 | SMUP | 1.0005 | 1.0002
Murray Bridge – Hahndorf Pipeline 1 | 11 | SMH1 | 1.0171 | 1.0129
Murray Bridge – Hahndorf Pipeline 2 | 11 | SMH2 | 1.0182 | 1.0157
Murray Bridge – Hahndorf Pipeline 3 | 11 | SMH3 | 1.0156 | 1.014
Neuroodla | 33 | SNEU | 1.0253 | 1.0226
New Osborne | 66 | SNBN | 0.9996 | 0.9997
North West Bend | 66 | SNWB | 1.0541 | 1.0013
Northfield | 66 | SNFD | 1.0019 | 1.0031
Para | 66 | SPAR | 1.0005 | 1.0026
Parafield Gardens West | 66 | SPGW | 1.0012 | 1.003
Penola West 33 | 33 | SPEN | 1.0206 | 0.9664
Pimba | 132 | SPMB | 1.2248 | 1.0731
Playford | 132 | SPAA | 0.9927 | 0.9918
Port Lincoln | 33 | SPLN | 0.9786 | 0.985
Port Pirie | 33 | SPPR | 0.9946 | 0.999
Roseworthy | 11 | SRSW | 1.0083 | 1.009
Snuggery Industrial – Dual MLF (Generation) | 33 | SSNN | 1.0002 | 0.943
Snuggery Industrial – Dual MLF (Load) | 33 | SSNN | 1.0169 | 0.9482
Snuggery Rural | 33 | SSNR | 1.0054 | 0.9457
South Australian VTN |  | SJP1 | 1.0058 | 0.9998
Stony Point | 11 | SSPN | 0.9983 | 0.999
Tailem Bend | 33 | STAL | 1.016 | 1.0017
Templers | 33 | STEM | 1.0031 | 1.0046
Torrens Island | 66 | STSY | 1 | 1
Waterloo | 33 | SWAT | 0.9851 | 0.9886
Whyalla Central Substation | 33 | SWYC | 1.0003 | 0.9996
Whyalla Terminal BHP | 33 | SBHP | 1.0004 | 0.9988
Woomera | 132 | SWMA | 1.1265 | 1.032
Wudina | 66 | SWUD | 0.9932 | 1.0049
Yadnarie | 66 | SYAD | 0.9803 | 0.9927
South Australia Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2019-20 MLF | 2018-19 MLF
Bungala One Solar Farm | 132 | BNGSF1 | SBEM1B | SBEM | 0.9716 | 0.97
Bungala Two Solar Farm | 132 | BNGSF2 | SBEM2B | SBEM | 0.9716 | 0.97
Cathedral Rocks Wind Farm | 132 | CATHROCK | SCRK | SCRK | 0.8857 | 0.886
Clements Gap Wind Farm | 132 | CLEMGPWF | SCGW1P | SCGW | 0.9582 | 0.9683
Dry Creek PS Unit 1 | 66 | DRYCGT1 | SDCA1 | SDPS | 0.9958 | 1.003
Dry Creek PS Unit 2 | 66 | DRYCGT2 | SDCA2 | SDPS | 0.9958 | 1.003
Dry Creek PS Unit 3 | 66 | DRYCGT3 | SDCA3 | SDPS | 0.9958 | 1.003
Dalrymple North BESS (Generation) | 33 | DALNTH01 | SDAN1D | SDAN | 0.9027 | 0.888
Dalrymple North BESS (Load) | 33 | DALNTHL1 | SDAN2D | SDAN | 0.9992 | 0.9326
Hallett PS | 275 | AGLHAL | SHPS1 | SHPS | 0.9747 | 0.9715
Hallett 1 Wind Farm | 275 | HALLWF1 | SHPS2W | SHPS | 0.9747 | 0.9715
Hallet 2 Wind Farm | 275 | HALLWF2 | SMOK1H | SMOK | 0.977 | 0.9715
Hornsdale Wind Farm Stage 1 | 275 | HDWF1 | SHDW1H | SHDW | 0.9698 | 0.9744
Hornsdale Wind Farm Stage 2 | 275 | HDWF2 | SHDW2H | SHDW | 0.9698 | 0.9744
Hornsdale Wind Farm Stage 3 | 275 | HDWF3 | SHDW3H | SHDW | 0.9698 | 0.9744
Hornsdale Battery (Generation) | 275 | HPRG1 | SMTL1H | SMTL | 0.983 | 0.9771
Hornsdale Battery (Load) | 275 | HPRL1 | SMTL2H | SMTL | 0.9842 | 0.9853
Ladbroke Grove PS Unit 1 | 132 | LADBROK1 | SPEW1 | SPEW | 0.981 | 0.9474
Ladbroke Grove PS Unit 2 | 132 | LADBROK2 | SPEW2 | SPEW | 0.981 | 0.9474
Lake Bonney Wind Farm | 33 | LKBONNY1 | SMAY1 | SMAY | 0.9788 | 0.9144
Lake Bonney Wind Farm Stage 2 | 33 | LKBONNY2 | SMAY2 | SMAY | 0.9788 | 0.9144
Lake Bonney Wind Farm Stage 3 | 33 | LKBONNY3 | SMAY3W | SMAY | 0.9788 | 0.9144
Lincoln Gap Wind Farm | 275 | LGAPWF1 | SLGW1L | SLGW | 0.982 | 0.9947
Mintaro PS | 132 | MINTARO | SMPS | SMPS | 0.9779 | 0.9942
Mt Millar Wind Farm | 33 | MTMILLAR | SMTM1 | SMTM | 0.8935 | 0.9055
North Brown Hill Wind Farm | 275 | NBHWF1 | SBEL1A | SBEL | 0.9729 | 0.9674
O.C.P.L. Unit 1 | 66 | OSB-AG | SNBN1 | SOCP | 0.9995 | 0.9992
Pelican Point PS | 275 | PPCCGT | SPPT | SPPT | 0.9986 | 1.0005
Port Lincoln 3 | 33 | POR03 | SPL31P | SPL3 | 0.9702 | 1.0383
Port Lincoln PS | 132 | POR01 | SPLN1 | SPTL | 0.9669 | 0.9691
Quarantine PS Unit 1 | 66 | QPS1 | SQPS1 | SQPS | 0.9961 | 0.9854
Quarantine PS Unit 2 | 66 | QPS2 | SQPS2 | SQPS | 0.9961 | 0.9854
Quarantine PS Unit 3 | 66 | QPS3 | SQPS3 | SQPS | 0.9961 | 0.9854
Quarantine PS Unit 4 | 66 | QPS4 | SQPS4 | SQPS | 0.9961 | 0.9854
Quarantine PS Unit 5 | 66 | QPS5 | SQPS5Q | SQPS | 0.9961 | 0.9854
Snowtown Wind Farm Stage 2 – North | 275 | SNOWNTH1 | SBLWS1 | SBLW | 0.9721 | 0.9813
Snowtown Wind Farm Stage 2 – South | 275 | SNOWSTH1 | SBLWS2 | SBLW | 0.9721 | 0.9813
Snowtown Wind Farm | 33 | SNOWTWN1 | SNWF1T | SNWF | 0.9094 | 0.9203
Snuggery PS Units 1 to 3 | 132 | SNUG1 | SSGA1 | SSPS | 0.9498 | 0.9325
Tailem Bend Solar Farm | 132 | TBSF1 | STBS1T | STBS | 1.0054 | 0.9973
The Bluff wind Farm | 275 | BLUFF1 | SBEL2P | SBEL | 0.9729 | 0.9674
Torrens Island PS A Unit 1 | 275 | TORRA1 | STSA1 | STPS | 0.9992 | 1.0009
Torrens Island PS A Unit 2 | 275 | TORRA2 | STSA2 | STPS | 0.9992 | 1.0009
Torrens Island PS A Unit 3 | 275 | TORRA3 | STSA3 | STPS | 0.9992 | 1.0009
Torrens Island PS A Unit 4 | 275 | TORRA4 | STSA4 | STPS | 0.9992 | 1.0009
Torrens Island PS B Unit 1 | 275 | TORRB1 | STSB1 | STPS | 0.9992 | 1.0009
Torrens Island PS B Unit 2 | 275 | TORRB2 | STSB2 | STPS | 0.9992 | 1.0009
Torrens Island PS B Unit 3 | 275 | TORRB3 | STSB3 | STPS | 0.9992 | 1.0009
Torrens Island PS B Unit 4 | 275 | TORRB4 | STSB4 | STPS | 0.9992 | 1.0009
Torrens Island PS Load | 66 | TORNL1 | STSYL | STSY | 1 | 1
Waterloo Wind Farm | 132 | WATERLWF | SWLE1R | SWLE | 0.9677 | 0.9712
Wattle Point Wind Farm | 132 | WPWF | SSYP1 | SSYP | 0.8124 | 0.8279
Willogoleche Wind Farm | 275 | WGWF1 | SWGL1W | SWGL | 0.9827 | 0.9689
South Australia Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2019-20 MLF | 2018-19 MLF
Angaston Power Station | 33 | ANGAST1 | SDRN1 | SANG | 0.9493 | 1.0087
Bolivar WWT Plant | 66 | BOLIVAR1 | SPGW1B | SPGW | 1.0012 | 1.003
Canunda Wind Farm | 33 | CNUNDAWF | SSNN1 | SCND | 0.9892 | 0.9237
Cummins Lonsdale PS | 66 | LONSDALE | SMVE1 | SMVE | 1.0049 | 1.0068
Morphett Vale East 66 (Generation) | 66 | SATGS1 | SMVG1L | SMVG | 1.0043 | 1.0061
Para 66 (Generation) | 66 | SATGN1 | SPAG1E | SPAG | 1.0003 | 0.9971
Pt Stanvac PS | 66 | PTSTAN1 | SMVE3P | SMVE | 1.0049 | 1.0068
Starfish Hill Wind Farm | 66 | STARHLWF | SMVE2 | SMVE | 1.0049 | 1.0068
Tatiara Meat Co | 33 | TATIARA1 | SKET1E | SKET | 1.0259 | 0.9952
Wingfield 1 LFG PS | 66 | WINGF1_1 | SKLB1W | SKLB | 0.9998 | 1.0019
Wingfield 2 LFG PS | 66 | WINGF2_1 | SNBN2W | SNBN | 0.9996 | 0.9997

## Tasmania
Tasmania (regional reference node is George Town 220 kV)
Tasmania Loads
Location | Voltage (kV) | TNI | 2019-20 MLF | 2018-19 MLF
Arthurs Lake | 6.6 | TAL2 | 0.9902 | 0.9943
Avoca | 22 | TAV2 | 1.0064 | 1.014
Boyer SWA | 6.6 | TBYA | 1.0168 | 1.0227
Boyer SWB | 6.6 | TBYB | 1.0169 | 1.0239
Bridgewater | 11 | TBW2 | 1.0265 | 1.0233
Burnie | 22 | TBU3 | 0.985 | 0.9857
Chapel St. | 11 | TCS3 | 1.0187 | 1.0231
Comalco | 220 | TCO1 | 1.0006 | 1.0006
Creek Road | 33 | TCR2 | 1.0186 | 1.0232
Derby | 22 | TDE2 | 0.9577 | 0.9647
Derwent Bridge | 22 | TDB2 | 0.9325 | 0.9386
Devonport | 22 | TDP2 | 0.9885 | 0.9885
Electrona | 11 | TEL2 | 1.0308 | 1.036
Emu Bay | 11 | TEB2 | 0.9815 | 0.9832
Fisher (Rowallan) | 220 | TFI1 | 0.9688 | 0.966
George Town | 22 | TGT3 | 1.002 | 1.0025
George Town (Basslink) | 220 | TGT1 | 1 | 1
Gordon | 22 | TGO2 | 0.9984 | 1.0024
Greater Hobart Area VTN |  | TVN1 | 1.0195 | 1.0236
Hadspen | 22 | THA3 | 0.9939 | 0.9967
Hampshire | 110 | THM2 | 0.9798 | 0.9819
Huon River | 11 | THR2 | 1.0259 | 1.038
Kermandie | 11 | TKE2 | 1.0343 | 1.0399
Kingston | 33 | TK13 | 1.0233 | 1.029
Kingston | 11 | TKI2 | 1.0258 | 1.0306
Knights Road | 11 | TKR2 | 1.0364 | 1.0433
Lindisfarne | 33 | TLF2 | 1.0202 | 1.0237
Meadowbank | 22 | TMB2 | 0.9828 | 0.9938
Mornington | 33 | TMT2 | 1.0224 | 1.0239
Mowbray | 22 | TMY2 | 0.9924 | 0.9955
New Norfolk | 22 | TNN2 | 1.0112 | 1.0179
Newton | 22 | TNT2 | 0.9731 | 0.9773
Newton | 11 | TNT3 | 0.9611 | 0.9552
North Hobart | 11 | TNH2 | 1.0176 | 1.0224
Norwood | 22 | TNW2 | 0.9923 | 0.9951
Palmerston | 22 | TPM3 | 0.9816 | 0.9847
Port Latta | 22 | TPL2 | 0.9573 | 0.9604
Que | 22 | TQU2 | 0.9729 | 0.9743
Queenstown | 11 | TQT3 | 0.9637 | 0.9635
Queenstown | 22 | TQT2 | 0.9639 | 0.9629
Railton | 22 | TRA2 | 0.9894 | 0.99
Risdon | 33 | TRI4 | 1.0195 | 1.0245
Risdon | 11 | TRI3 | 1.0219 | 1.0257
Rokeby | 11 | TRK2 | 1.0223 | 1.0259
Rosebery | 44 | TRB2 | 0.9733 | 0.975
Savage River | 22 | TSR2 | 1.003 | 0.9938
Scottsdale | 22 | TSD2 | 0.9704 | 0.9731
Smithton | 22 | TST2 | 0.9409 | 0.9482
Sorell | 22 | TSO2 | 1.0284 | 1.0317
St Leonard | 22 | TSL2 | 0.9921 | 0.9947
St. Marys | 22 | TSM2 | 1.0224 | 1.0284
Starwood | 110 | TSW1 | 1.0009 | 1.0011
Tamar Region VTN |  | TVN2 | 0.9938 | 0.9965
Temco | 110 | TTE1 | 1.0037 | 1.0043
Trevallyn | 22 | TTR2 | 0.9931 | 0.9961
Triabunna | 22 | TTB2 | 1.0393 | 1.0454
Tungatinah | 22 | TTU2 | 0.9351 | 0.9396
Ulverstone | 22 | TUL2 | 0.9847 | 0.9879
Waddamana | 22 | TWA2 | 0.9465 | 0.9617
Wayatinah | 11 | TWY2 | 0.9958 | 1.0006
Wesley Vale | 22 | TWV2 | 0.989 | 0.9867
Tasmania Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2019-20 MLF | 2018-19 MLF
Basslink (George Town) | 220 | BLNKTAS | TGT11 | TGT1 | 1 | 1
Bastyan | 220 | BASTYAN | TFA11 | TFA1 | 0.9456 | 0.941
Bell Bay No.3 | 110 | BBTHREE1 | TBB11 | TBB1 | 0.9997 | 1.0003
Bell Bay No.3 | 110 | BBTHREE2 | TBB12 | TBB1 | 0.9997 | 1.0003
Bell Bay No.3 | 110 | BBTHREE3 | TBB13 | TBB1 | 0.9997 | 1.0003
Bluff Point and Studland Bay Wind Farms | 110 | WOOLNTH1 | TST11 | TST1 | 0.89 | 0.8952
Butlers Gorge | 110 | BUTLERSG | TBG11 | TBG1 | 0.9305 | 0.935
Catagunya | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9936 | 0.9977
Cethana | 220 | CETHANA | TCE11 | TCE1 | 0.9658 | 0.9628
Cluny | 220 | CLUNY | TCL11 | TCL1 | 0.9961 | 1.0019
Devils gate | 110 | DEVILS_G | TDG11 | TDG1 | 0.9698 | 0.9692
Fisher | 220 | FISHER | TFI11 | TFI1 | 0.9688 | 0.966
Gordon | 220 | GORDON | TGO11 | TGO1 | 0.9594 | 0.9868
John Butters | 220 | JBUTTERS | TJB11 | TJB1 | 0.937 | 0.9365
Lake Echo | 110 | LK_ECHO | TLE11 | TLE1 | 0.9257 | 0.9385
Lemonthyme | 220 | LEM_WIL | TSH11 | TSH1 | 0.9716 | 0.9701
Liapootah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9936 | 0.9977
Mackintosh | 110 | MACKNTSH | TMA11 | TMA1 | 0.9347 | 0.9282
Meadowbank | 110 | MEADOWBK | TMB11 | TMB1 | 0.9716 | 0.9773
Musselroe | 110 | MUSSELR1 | TDE11M | TDE1 | 0.906 | 0.9105
Paloona | 110 | PALOONA | TPA11 | TPA1 | 0.9702 | 0.9771
Poatina | 220 | POAT220 | TPM11 | TPM1 | 0.9846 | 0.9912
Poatina | 110 | POAT110 | TPM21 | TPM2 | 0.9728 | 0.9799
Reece No.1 | 220 | REECE1 | TRCA1 | TRCA | 0.941 | 0.935
Reece No.2 | 220 | REECE2 | TRCB1 | TRCB | 0.9351 | 0.9264
Repulse | 220 | REPULSE | TCL12 | TCL1 | 0.9961 | 1.0019
Rowallan | 220 | ROWALLAN | TFI12 | TFI1 | 0.9688 | 0.966
Tamar Valley CCGT | 220 | TVCC201 | TTV11A | TTV1 | 1 | 0.9999
Tamar Valley OCGT | 110 | TVPP104 | TBB14A | TBB1 | 0.9997 | 1.0003
Tarraleah | 110 | TARRALEA | TTA11 | TTA1 | 0.9363 | 0.9405
Trevallyn | 110 | TREVALLN | TTR11 | TTR1 | 0.9889 | 0.9909
Tribute | 220 | TRIBUTE | TTI11 | TTI1 | 0.9401 | 0.9377
Tungatinah | 110 | TUNGATIN | TTU11 | TTU1 | 0.9065 | 0.9184
Wayatinah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9936 | 0.9977
Wilmot | 220 | LEM_WIL | TSH11 | TSH1 | 0.9716 | 0.9701
Tasmania Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2019-20 MLF | 2018-19 MLF
Midlands PS | 22 | MIDLDPS1 | TAV21M | TAV2 | 1.0064 | 1.014
Remount | 22 | REMOUNT | TMY21 | TVN2 | 0.9938 | 0.9965