## Queensland
Queensland (regional reference node is South Pine 275)
Queensland Loads
Location | Voltage (kV) | TNI | 2018-19 MLF | 2017-18 MLF
Abermain | 33 | QABM | 1.0015 | 1.0016
Abermain | 110 | QABR | 0.9968 | 1.0018
Alan Sherriff | 132 | QASF | 0.9656 | 1.0383
Algester | 33 | QALG | 1.0161 | 1.0153
Alligator Creek | 132 | QALH | 0.964 | 1.005
Alligator Creek | 33 | QALC | 0.9654 | 1.006
Ashgrove West | 33 | QAGW | 1.0139 | 1.0149
Ashgrove West | 110 | QCBW | 1.0122 | 1.0129
Belmont | 110 | QBMH | 1.0123 | 1.0114
Belmont Wecker Road | 33 | QBBS | 1.0104 | 1.0089
Belmont Wecker Road | 11 | QMOB | 1.0353 | 1.034
Biloela | 66/11 | QBIL | 0.9141 | 0.9235
Blackstone | 110 | QBKS | 1.0001 | 0.9999
Blackwater | 66/11 | QBWL | 0.9624 | 1.0001
Blackwater | 132 | QBWH | 0.9621 | 0.9988
Bluff | 132 | QBLF | 0.9608 | 0.9985
Bolingbroke | 132 | QBNB | 0.9486 | 0.9931
Bowen North | 66 | QBNN | 0.9469 | 1.009
Boyne Island | 275 | QBOH | 0.9411 | 0.9593
Boyne Island | 132 | QBOL | 0.9383 | 0.9574
Braemar – Kumbarilla Park | 275 | QBRE | 0.9764 | 0.9654
Bulli Creek (Essential Energy) | 132 | QBK2 | 0.984 | 0.9752
Bulli Creek (Waggamba) | 132 | QBLK | 0.984 | 0.9752
Bundamba | 110 | QBDA | 1.0013 | 1.0011
Burton Downs | 132 | QBUR | 0.9596 | 1.0116
Cairns | 22 | QCRN | 0.9713 | 1.055
Cairns City | 132 | QCNS | 0.9682 | 1.0547
Callemondah (Rail) | 132 | QCMD | 0.9314 | 0.9494
Calliope River | 132 | QCAR | 0.9258 | 0.9472
Cardwell | 22 | QCDW | 0.9777 | 1.0482
Chinchilla | 132 | QCHA | 0.983 | 0.975
Clare | 66 | QCLR | 0.9615 | 1.0457
Collinsville Load | 33 | QCOL | 0.9494 | 1.0126
Columboola | 132 | QCBL | 0.9891 | 0.9715
Columboola 132 (Bellevue LNG load) | 132 | QCBB | 0.9899 | 0.9724
Coppabella (Rail) | 132 | QCOP | 0.969 | 1.0294
Dan Gleeson | 66 | QDGL | 0.9713 | 1.0391
Dingo (Rail) | 132 | QDNG | 0.9538 | 0.9838
Duaringa | 132 | QDRG | 0.9684 | 0.9754
Dysart | 66/22 | QDYS | 0.9629 | 1.0156
Eagle Downs Mine | 132 | QEGD | 0.963 | 1.0269
Edmonton | 22 | QEMT | 0.9847 | 1.0603
Egans Hill | 66 | QEGN | 0.9159 | 0.9428
El Arish | 22 | QELA | 0.9846 | 1.0533
Garbutt | 66 | QGAR | 0.9664 | 1.042
Gin Gin | 132 | QGNG | 0.9541 | 0.9693
Gladstone South | 66/11 | QGST | 0.9384 | 0.9534
Goodna | 33 | QGDA | 1.0052 | 1.005
Goonyella Riverside Mine | 132 | QGYR | 0.9836 | 1.0483
Grantleigh (Rail) | 132 | QGRN | 0.915 | 0.9426
Gregory (Rail) | 132 | QGRE | 0.9423 | 0.9791
Ingham | 66 | QING | 0.9597 | 1.066
Innisfail | 22 | QINF | 0.9747 | 1.06
Kamerunga | 22 | QKAM | 0.9844 | 1.0612
Kemmis | 66 | QEMS | 0.9643 | 1.0084
King Creek | 132 | QKCK | 0.9563 | 1.0175
Lilyvale | 66 | QLIL | 0.9451 | 0.9808
Lilyvale (Barcaldine) | 132 | QLCM | 0.9378 | 0.9775
Loganlea | 33 | QLGL | 1.0151 | 1.0148
Loganlea | 110 | QLGH | 1.0116 | 1.0112
Mackay | 33 | QMKA | 0.9556 | 1.0021
Middle Ridge (Energex) | 110 | QMRX | 0.9878 | 0.9833
Middle Ridge (Ergon) | 110 | QMRG | 0.9878 | 0.9833
Mindi (Rail) | 132 | QMND | 0.9425 | 0.9846
Molendinar | 110 | QMAR | 1.0143 | 1.0147
Molendinar | 33 | QMAL | 1.0136 | 1.0142
Moranbah (Mine) | 66 | QMRN | 0.9819 | 1.0364
Moranbah (Town) (DUAL MLF – GEN) | 11 | QMRL | 0.9803 | 1.0441
Moranbah (Town) (DUAL MLF – LOAD) | 11 | QMRL | 0.9538
Moranbah South (Rail) | 132 | QMBS | 0.9745 | 1.0342
Moranbah Substation | 132 | QMRH | 0.9709 | 1.0333
Moura | 66/11 | QMRA | 0.948 | 0.9609
Mt McLaren (Rail) | 132 | QMTM | 0.9786 | 1.0478
Mudgeeraba | 33 | QMGL | 1.0169 | 1.0169
Mudgeeraba | 110 | QMGB | 1.0174 | 1.0165
Murarrie (Belmont) | 110 | QMRE | 1.013 | 1.0121
Nebo | 11 | QNEB | 0.9394 | 0.9846
Newlands | 66 | QNLD | 0.9831 | 1.0715
North Goonyella | 132 | QNGY | 0.9789 | 1.0499
Norwich Park (Rail) | 132 | QNOR | 0.9528 | 1.0007
Oakey | 110 | QOKT | 0.9818 | 0.9779
Oonooie (Rail) | 132 | QOON | 0.9651 | 1.0103
Orana LNG | 275 | QORH | 0.9805 | 0.9678
Palmwoods | 132 | QPWD | 1.0025 | 1.0056
Pandoin | 132 | QPAN | 0.9198 | 0.9461
Pandoin | 66 | QPAL | 0.9199 | 0.9457
Peak Downs (Rail) | 132 | QPKD | 0.971 | 1.028
Pioneer Valley | 66 | QPIV | 0.9623 | 1.006
Proserpine | 66 | QPRO | 0.9723 | 1.0439
Queensland Alumina Ltd (Gladstone South) | 132 | QQAH | 0.9381 | 0.9565
Queensland Nickel (Yabulu) | 132 | QQNH | 0.9616 | 1.0344
Raglan | 275 | QRGL | 0.9217 | 0.9427
Redbank Plains | 11 | QRPN | 1.0031 | 1.003
Richlands | 33 | QRLD | 1.0149 | 1.0136
Rockhampton | 66 | QROC | 0.9134 | 0.9481
Rocklands (Rail) | 132 | QRCK | 0.9164 | 0.9399
Rocklea (Archerfield) | 110 | QRLE | 1.0061 | 1.0059
Ross | 132 | QROS | 0.9625 | 1.0292
Runcorn | 33 | QRBS | 1.0174 | 1.0161
South Pine | 110 | QSPN | 1.0042 | 1.0044
Stony Creek | 132 | QSYC | 0.9723 | 1.0289
Sumner | 110 | QSUM | 1.0071 | 1.0068
Tangkam (Dalby) | 110 | QTKM | 0.9867 | 0.9816
Tarong | 66 | QTRL | 0.9756 | 0.9715
Teebar Creek | 132 | QTBC | 0.9764 | 0.987
Tennyson | 33 | QTNS | 1.0098 | 1.01
Tennyson (Rail) | 110 | QTNN | 1.0087 | 1.0085
Townsville East | 66 | QTVE | 0.9669 | 1.0367
Townsville South | 66 | QTVS | 0.9698 | 1.0373
Tully | 22 | QTLL | 0.9516 | 1.0779
Turkinje | 66 | QTUL | 0.9966 | 1.0877
Turkinje (Craiglie) | 132 | QTUH | 0.9915 | 1.0762
Wandoan South | 132 | QWSH | 1.0036 | 0.9854
Wandoan South (NW Surat) | 275 | QWST | 1.003 | 0.9846
Wandoo (Rail) | 132 | QWAN | 0.9471 | 0.9897
Wivenhoe Pump | 275 | QWIP | 0.9974 | 0.9975
Woolooga (Energex) | 132 | QWLG | 0.9756 | 0.985
Woolooga (Ergon) | 132 | QWLN | 0.9756 | 0.985
Woree | 132 | QWRE | 0.9754 | 1.0541
Wotonga (Rail) | 132 | QWOT | 0.9685 | 1.029
Wycarbah | 132 | QWCB | 0.9061 | 0.9351
Yarwun – Boat Creek (Ergon) | 132 | QYAE | 0.9282 | 0.9478
Yarwun – Rio Tinto | 132 | QYAR | 0.9266 | 0.9461
Queensland Generators
Location | Voltage (kV) | DUID | Connection point ID | TNI | 2018-19 MLF | 2017-18 MLF
Barcaldine Solar at Lilyvale (132) | 132 | BARCSF1 | QLLV1B | QLLV | 0.8934 | 0.9689
Barron Gorge Power Station (PS) Unit 1 | 132 | BARRON-1 | QBGH1 | QBGH | 0.9346 | 1.0238
Barron Gorge PS Unit 2 | 132 | BARRON-2 | QBGH2 | QBGH | 0.9346 | 1.0238
Braemar PS Unit 1 | 275 | BRAEMAR1 | QBRA1 | QBRA | 0.9709 | 0.9607
Braemar PS Unit 2 | 275 | BRAEMAR2 | QBRA2 | QBRA | 0.9709 | 0.9607
Braemar PS Unit 3 | 275 | BRAEMAR3 | QBRA3 | QBRA | 0.9709 | 0.9607
Braemar Stage 2 PS Unit 5 | 275 | BRAEMAR5 | QBRA5B | QBRA | 0.9709 | 0.9607
Braemar Stage 2 PS Unit 6 | 275 | BRAEMAR6 | QBRA6B | QBRA | 0.9709 | 0.9607
Braemar Stage 2 PS Unit 7 | 275 | BRAEMAR7 | QBRA7B | QBRA | 0.9709 | 0.9607
Callide PS Load | 132 | CALLNL1 | QCAX | QCAX | 0.9048 | 0.9146
Callide A PS Unit 4 | 132 | CALL_A_4 | QCAA4 | QCAA | 0.9074 | 0.9161
Callide A PS Unit 4 Load | 132 | CALLNL4 | QCAA2 | QCAA | 0.9074 | 0.9161
Callide B PS Unit 1 | 275 | CALL_B_1 | QCAB1 | QCAB | 0.9069 | 0.9235
Callide B PS Unit 2 | 275 | CALL_B_2 | QCAB2 | QCAB | 0.9069 | 0.9235
Callide C PS Unit 3 | 275 | CPP_3 | QCAC3 | QCAC | 0.908 | 0.9211
Callide C PS Unit 4 | 275 | CPP_4 | QCAC4 | QCAC | 0.908 | 0.9211
Clare Solar Farm | 132 | CLARESF1 | QCLA1C | QCLA | 0.8727 | 0.9823
Columboola – Condamine PS | 132 | CPSA | QCND1C | QCND | 0.9882 | 0.9688
Darling Downs PS | 275 | DDPS1 | QBRA8D | QBRA | 0.9709 | 0.9607
Gladstone PS (132 kV) Unit 3 | 132 | GSTONE3 | QGLD3 | QGLL | 0.9206 | 0.9402
Darling Downs Solar Farm | 275 | DDSF1 | QBRS1D | QBRS | 0.9812 | 0.9711
Gladstone PS (132 kV) Unit 4 | 132 | GSTONE4 | QGLD4 | QGLL | 0.9206 | 0.9402
Gladstone PS (132kV) Load | 132 | GLADNL1 | QGLL | QGLL | 0.9206 | 0.9402
Gladstone PS (275 kV) Unit 1 | 275 | GSTONE1 | QGLD1 | QGLH | 0.924 | 0.9431
Gladstone PS (275 kV) Unit 2 | 275 | GSTONE2 | QGLD2 | QGLH | 0.924 | 0.9431
Gladstone PS (275 kV) Unit 5 | 275 | GSTONE5 | QGLD5 | QGLH | 0.924 | 0.9431
Gladstone PS (275 kV) Unit 6 | 275 | GSTONE6 | QGLD6 | QGLH | 0.924 | 0.9431
Hamilton Solar Farm | 33 | HAMISF1 | QSLD1H | QSLD | 0.8741 | 0.9638
Hughenden SF | 132 | HUGSF1 | QROG2H | QROG | 0.8842 | 1.0114
Kareeya PS Unit 1 | 132 | KAREEYA1 | QKAH1 | QKYH | 0.9523 | 1.0181
Kareeya PS Unit 2 | 132 | KAREEYA2 | QKAH2 | QKYH | 0.9523 | 1.0181
Kareeya PS Unit 3 | 132 | KAREEYA3 | QKAH3 | QKYH | 0.9523 | 1.0181
Kareeya PS Unit 4 | 132 | KAREEYA4 | QKAH4 | QKYH | 0.9523 | 1.0181
Kidston Solar Farm | 132 | KSP1 | QROG1K | QROG | 0.8842 | 1.0114
Kogan Creek PS | 275 | KPP_1 | QBRA4K | QWDN | 0.9743 | 0.9635
Koombooloomba | 132 | KAREEYA5 | QKYH5 | QKYH | 0.9523 | 1.0181
Millmerran PS Unit 1 | 330 | MPP_1 | QBCK1 | QMLN | 0.9812 | 0.9737
Millmerran PS Unit 2 | 330 | MPP_2 | QBCK2 | QMLN | 0.9812 | 0.9737
Mt Stuart PS Unit 1 | 132 | MSTUART1 | QMSP1 | QMSP | 0.8842 | 0.9964
Mt Stuart PS Unit 2 | 132 | MSTUART2 | QMSP2 | QMSP | 0.8842 | 0.9964
Mt Stuart PS Unit 3 | 132 | MSTUART3 | QMSP3M | QMSP | 0.8842 | 0.9964
Oakey PS Unit 1 | 110 | OAKEY1 | QOKY1 | QOKY | 0.9562 | 0.9667
Oakey PS Unit 2 | 110 | OAKEY2 | QOKY2 | QOKY | 0.9562 | 0.9667
Ross River Solar Farm | 132 | RRSF1 | QROG3R | QROG | 0.8842 | 1.0114
Stanwell PS Load | 132 | STANNL1 | QSTX | QSTX | 0.9104 | 0.9366
Stanwell PS Unit 1 | 275 | STAN-1 | QSTN1 | QSTN | 0.9075 | 0.9329
Stanwell PS Unit 2 | 275 | STAN-2 | QSTN2 | QSTN | 0.9075 | 0.9329
Stanwell PS Unit 3 | 275 | STAN-3 | QSTN3 | QSTN | 0.9075 | 0.9329
Stanwell PS Unit 4 | 275 | STAN-4 | QSTN4 | QSTN | 0.9075 | 0.9329
Staplyton | 110 | STAPLYTON1 | QLGH4S | QLGH | 1.0116 | 1.0112
Sun Metals Solar Farm | 132 | SMCSF1 | QTZS1S | QTZS | 1.0092 | 1.0424
Swanbank E GT | 275 | SWAN_E | QSWE | QSWE | 1.0009 | 1.0019
Tarong North PS | 275 | TNPS1 | QTNT | QTNT | 0.9755 | 0.9713
Tarong PS Unit 1 | 275 | TARONG#1 | QTRN1 | QTRN | 0.9752 | 0.9712
Tarong PS Unit 2 | 275 | TARONG#2 | QTRN2 | QTRN | 0.9752 | 0.9712
Tarong PS Unit 3 | 275 | TARONG#3 | QTRN3 | QTRN | 0.9752 | 0.9712
Tarong PS Unit 4 | 275 | TARONG#4 | QTRN4 | QTRN | 0.9752 | 0.9712
Whitsunday Solar Farm | 33 | WHITSF1 | QSLS1W | QSLS | 0.8741 | 0.9569
Wivenhoe Generation Unit 1 | 275 | W/HOE#1 | QWIV1 | QWIV | 0.9939 | 0.9935
Wivenhoe Generation Unit 2 | 275 | W/HOE#2 | QWIV2 | QWIV | 0.9939 | 0.9935
Wivenhoe Pump 1 | 275 | PUMP1 | QWIP1 | QWIP | 0.9974 | 0.9975
Wivenhoe Pump 2 | 275 | PUMP2 | QWIP2 | QWIP | 0.9974 | 0.9975
Yabulu PS | 132 | YABULU | QTYP | QTYP | 0.9346 | 1.0035
Yarwun PS | 132 | YARWUN_1 | QYAG1R | QYAG | 0.9245 | 0.9435
Queensland Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2018-19 MLF | 2017-18 MLF
Barcaldine PS – Lilyvale | 132 | BARCALDN | QBCG | QBCG | 0.9029 | 0.9507
Browns Plains Landfill Gas PS | 110 | BPLANDF1 | QLGH3B | QLGH | 1.0116 | 1.0112
Daandine PS | 110 | DAANDINE | QTKM1 | QTKM | 0.9867 | 0.9816
German Creek Generator | 66 | GERMCRK | QLIL2 | QLIL | 0.9451 | 0.9808
Grosvenor PS At Moranbah 66 No 2 | 66 | GROSV2 | QMRV1G | QMRV | 0.9683 | 1.0252
Grosvenor PS At Moranbah 66 No 1 | 66 | GROSV1 | QMRN2G | QMRV | 0.9683 | 1.0252
Invicta Sugar Mill | 132 | INVICTA | QINV1I | QINV | 0.966 | 0.9787
Isis CSM | 132 | ICSM | QGNG1I | QTBC | 0.9764 | 0.987
Longreach Solar Farm | 132 | LRSF1 | QLLV2L | QLLV | 0.8934 | 0.9689
Mackay GT | 33 | MACKAYGT | QMKG | QMKG | 0.8863 | 0.9577
Moranbah Gen | 11 | MORANBAH | QMRL1M | QMRL | 0.9803 | 1.0441
Moranbah North PS | 66 | MBAHNTH | QMRN1P | QMRN | 0.9819 | 1.0364
Oaky Creek Generator | 66 | OAKYCREK | QLIL1 | QLIL | 0.9451 | 0.9808
Oaky Creek 2 | 66 | OAKY2 | QLIL3O | QLIL | 0.9451 | 0.9808
Racecourse Mill PS 1 – 3 | 66 | RACOMIL1 | QMKA1R | QPIV | 0.9623 | 1.006
Rochedale Renewable Energy Plant | 110 | ROCHEDAL | QBMH2 | QBMH | 1.0123 | 1.0114
Rocky Point Gen (Loganlea 110kV) | 110 | RPCG | QLGH2 | QLGH | 1.0116 | 1.0112
Roghan Road Generator | 110 | EDLRGNRD | QSPN2 | QSPN | 1.0042 | 1.0044
Roma PS Unit 7 – Columboola | 132 | ROMA_7 | QRMA7 | QRMA | 0.9729 | 0.9623
Roma PS Unit 8 – Columboola | 132 | ROMA_8 | QRMA8 | QRMA | 0.9729 | 0.9623
Southbank Institute Of Technology | 110 | STHBKTEC | QCBD1S | QCBW | 1.0122 | 1.0129
Sunshine Coast Solar Farm | 132 | VALDORA1 | QPWD1S | QPWD | 1.0025 | 1.0056
Ti Tree BioReactor | 33 | TITREE | QABM1T | QABM | 1.0015 | 1.0016
Whitwood Rd Renewable Energy Plant | 110 | WHIT1 | QSBK1 | QBKS | 1.0001 | 0.9999
Windy Hill Wind Farm | 66 | WHILL1 | QTUL | QTUL | 0.9966 | 1.0877
Wivenhoe Small Hydro | 110 | WIVENSH | QABR1 | QABR | 0.9968 | 0.999
Yabulu Steam Turbine (Garbutt 66kV) | 66 | YABULU2 | QGAR1 | QYST | 0.9495 | 0.9778

## New South Wales
New South Wales (regional reference node is Sydney West 330)
New South Wales Loads
Location | Voltage (kV) | TNI | 2018-19 MLF | 2017-18 MLF
Alexandria | 33 | NALX | 1.0093 | 1.0084
Albury | 132 | NALB | 1.0792 | 1.108
Alcan | 132 | NALC | 0.9932 | 0.992
Armidale | 66 | NAR1 | 0.8957 | 0.902
Australian Newsprint Mill | 132 | NANM | 1.081 | 1.111
Balranald | 22 | NBAL | 1.1047 | 1.2097
Beaconsfield North | 132 | NBFN | 1.0084 | 1.0081
Beaconsfield South | 132 | NBFS | 1.0084 | 1.0081
Beaconsfield West | 132 | NBFW | 1.0084 | 1.0081
Belmore Park | 132 | NBM1 | 1.0085 | 1.0082
Beresfield | 33 | NBRF | 0.9957 | 0.9947
Beryl | 66 | NBER | 1.0062 | 1.0067
BHP (Waratah) | 132 | NWR1 | 0.9893 | 0.9886
Boambee South | 132 | NWST | 0.9125 | 0.919
Boggabri East | 132 | NBGE | 0.9692 | 0.9677
Boggabri North | 132 | NBGN | 0.9692 | 0.9694
Brandy Hill | 11 | NBHL | 0.9935 | 0.9924
Broken Hill | 22 | NBKG | 1.0603 | 1.2841
Broken Hill | 220 | NBKH | 1.0486 | 1.2757
Bunnerong | 132 | NBG1 | 1.0081 | 1.008
Bunnerong | 33 | NBG3 | 1.0103 | 1.0099
Burrinjuck | 132 | NBU2 | 1.0155 | 1.0324
Canterbury | 33 | NCTB | 1.0136 | 1.0135
Carlingford | 132 | NCAR | 1.0033 | 1.0041
Casino | 132 | NCSN | 0.896 | 0.9021
Charmhaven | 11 | NCHM | 0.993 | 0.9925
Chullora | 132 | NCHU | 1.0076 | 1.0076
Coffs Harbour | 66 | NCH1 | 0.9072 | 0.9139
Coleambally | 132 | NCLY | 1.0783 | 1.1222
Cooma | 66 | NCMA | 1.0307 | 1.0387
Cooma (AusNet Services) | 66 | NCM2 | 1.0307 | 1.0387
Croydon | 11 | NCRD | 1.0089 | 1.0113
Cowra | 66 | NCW8 | 1.0411 | 1.0435
Dapto (Endeavour Energy) | 132 | NDT1 | 1.0037 | 1.0023
Dapto (Essential Energy) | 132 | NDT2 | 1.0037 | 1.0023
Darlington Point | 132 | NDNT | 1.0764 | 1.1114
Deniliquin | 66 | NDN7 | 1.1081 | 1.14
Dorrigo | 132 | NDOR | 0.907 | 0.9116
Drummoyne | 11 | NDRM | 1.0087 | 1.009
Dunoon | 132 | NDUN | 0.8822 | 0.8881
Far North VTN |  | NEV1 | 0.9654 | 0.9632
Finley | 66 | NFNY | 1.1441 | 1.1256
Forbes | 66 | NFB2 | 1.0429 | 1.0551
Gadara | 132 | NGAD | 1.0504 | 1.0756
Glen Innes | 66 | NGLN | 0.892 | 0.9
Gosford | 66 | NGF3 | 1.0011 | 1.0008
Gosford | 33 | NGSF | 1.0021 | 1.0014
Green Square | 11 | NGSQ | 1.0098 | 1.0094
Griffith | 33 | NGRF | 1.0929 | 1.1321
Gunnedah | 66 | NGN2 | 0.9579 | 0.9592
Haymarket | 132 | NHYM | 1.0084 | 1.0082
Heron's Creek | 132 | NHNC | 0.9885 | 0.9921
Holroyd | 132 | NHLD | 1 | 0.9998
Hurstville North | 11 | NHVN | 1.0068 | 1.0068
Homebush Bay | 11 | NHBB | 1.011 | 1.0112
Ilford | 132 | NLFD | 0.9901 | 0.9868
Ingleburn | 66 | NING | 1.0006 | 1.0001
Inverell | 66 | NNVL | 0.9063 | 0.9127
Kemps Creek | 330 | NKCK | 0.9972 | 0.9965
Kempsey | 66 | NKS2 | 0.951 | 0.9572
Kempsey | 33 | NKS3 | 0.9542 | 0.96
Koolkhan | 66 | NKL6 | 0.9174 | 0.9255
Kurnell | 132 | NKN1 | 1.0054 | 1.0055
Kogarah | 11 | NKOG | 1.009 | 1.012
Kurri | 33 | NKU3 | 0.9961 | 0.9951
Kurri | 11 | NKU1 | 0.994 | 0.9932
Kurri (DUAL MLF - GEN) | 132 | NKUR | 0.9913 | 0.993
Kurri (DUAL MLF - LOAD) | 132 | NKUR | 0.9934
Lake Munmorah | 132 | NMUN | 0.9835 | 0.981
Lane Cove | 132 | NLCV | 1.0083 | 1.0088
Lichhardt | 11 | NLDT | 1.0103 | 1.0106
Liddell | 33 | NLD3 | 0.9596 | 0.9582
Lismore | 132 | NLS2 | 0.8965 | 0.9051
Liverpool | 132 | NLP1 | 1.0024 | 1.0022
Macarthur | 132 | NMC1 | 0.9987 | 0.9972
Macarthur | 66 | NMC2 | 1.0008 | 0.9998
Macksville | 132 | NMCV | 0.9305 | 0.9362
Macquarie Park | 11 | NMQP | 1.0122 | 1.0123
Manildra | 132 | NMLD | 1.0223 | 1.0346
Marrickville | 11 | NMKV | 1.0138 | 1.0136
Marulan (Endeavour Energy) | 132 | NMR1 | 0.9977 | 0.9998
Marulan (Essential Energy) | 132 | NMR2 | 0.9977 | 0.9998
Mason Park | 132 | NMPK | 1.0084 | 1.0086
Meadowbank | 11 | NMBK | 1.0116 | 1.012
Molong | 132 | NMOL | 1.0236 | 1.0303
Moree | 66 | NMRE | 0.9612 | 0.9479
Morven | 132 | NMVN | 1.0752 | 1.1004
Mt Piper | 66 | NMP6 | 0.9734 | 0.9713
Mudgee | 132 | NMDG | 1.0039 | 1.0026
Mullumbimby | 11 | NML1 | 0.8642 | 0.871
Mullumbimby | 132 | NMLB | 0.8591 | 0.8644
Munmorah STS 33 | 33 | NMU3 | 1.0058 | 0.9969
Munyang | 11 | NMY1 | 1.0256 | 1.0426
Munyang | 33 | NMYG | 1.0256 | 1.0426
Murrumbateman | 132 | NMBM | 1.0129 | 1.0179
Murrumburrah | 66 | NMRU | 1.0448 | 1.0596
Muswellbrook | 132 | NMRK | 0.9659 | 0.9637
Nambucca Heads | 132 | NNAM | 0.9243 | 0.9307
Narrabri | 66 | NNB2 | 0.9789 | 0.9746
Newcastle | 132 | NNEW | 0.9901 | 0.9892
North of Broken Bay VTN |  | NEV2 | 0.9933 | 0.9926
Orange | 66 | NRGE | 1.0343 | 1.0363
Orange | 132 | NRG1 | 1.0348 | 1.0374
Orange North | 132 | NONO | 1.0322 | 1.0343
Ourimbah | 33 | NORB | 0.9986 | 0.9977
Ourimbah | 132 | NOR1 | 0.9972 | 0.9968
Ourimbah | 66 | NOR6 | 0.9972 | 0.9967
Panorama | 66 | NPMA | 1.0225 | 1.0251
Parkes | 66 | NPK6 | 1.0372 | 1.0497
Parkes | 132 | NPKS | 1.0336 | 1.0476
Peakhurst | 33 | NPHT | 1.0063 | 1.0069
Pt Macquarie | 33 | NPMQ | 0.9783 | 0.9833
Pyrmont | 33 | NPT3 | 1.0092 | 1.0089
Pyrmont | 132 | NPT1 | 1.0086 | 1.0084
Queanbeyan 132 | 132 | NQBY | 1.0457 | 1.0555
Raleigh | 132 | NRAL | 0.9166 | 0.9223
Regentville | 132 | NRGV | 0.9993 | 0.9993
Rockdale (Ausgrid) | 11 | NRKD | 1.0081 | 1.0078
Rookwood Road | 132 | NRWR | 1.0027 | 1.0019
Rozelle | 132 | NRZH | 1.0092 | 1.0089
Rozelle | 33 | NRZL | 1.0098 | 1.01
Snowy Adit | 132 | NSAD | 1.0132 | 1.0263
Somersby | 11 | NSMB | 1.002 | 1.0018
South of Broken Bay VTN |  | NEV3 | 1.0062 | 1.0064
St Peters | 11 | NSPT | 1.0115 | 1.0113
Stroud | 132 | NSRD | 1.0022 | 1.001
Sydney East | 132 | NSE2 | 1.0049 | 1.0048
Sydney North (Ausgrid) | 132 | NSN1 | 1.0015 | 1.0015
Sydney North (Endeavour Energy) | 132 | NSN2 | 1.0015 | 1.0015
Sydney South | 132 | NSYS | 1.0036 | 1.0033
Sydney West (Ausgrid) | 132 | NSW1 | 1.0033 | 1.0041
Sydney West (Endeavour Energy) | 132 | NSW2 | 1.0033 | 1.0041
Tamworth | 66 | NTA2 | 0.9348 | 0.9372
Taree (Essential Energy) | 132 | NTR2 | 1.0105 | 1.0111
Tenterfield | 132 | NTTF | 0.8945 | 0.9028
Terranora | 110 | NTNR | 0.9223 | 0.9406
Tomago | 330 | NTMG | 0.9898 | 0.9888
Tomago (Ausgrid) | 132 | NTME | 0.9925 | 0.9915
Tomago (Essential Energy) | 132 | NTMC | 0.9925 | 0.9915
Top Ryde | 11 | NTPR | 1.0091 | 1.0095
Tuggerah | 132 | NTG3 | 0.9935 | 0.993
Tumut | 66 | NTU2 | 1.0438 | 1.0748
Vales Pt. | 132 | NVP1 | 0.9883 | 0.9878
Vineyard | 132 | NVYD | 0.9991 | 0.9989
Wagga | 66 | NWG2 | 1.0616 | 1.0888
Wagga North | 132 | NWGN | 1.0642 | 1.0889
Wagga North | 66 | NWG6 | 1.0673 | 1.0941
Wallerawang (Endeavour Energy) | 132 | NWW6 | 0.9737 | 0.9714
Wallerawang (Essential Energy) | 132 | NWW5 | 0.9737 | 0.9714
Wallerawang 66 (Essential Energy) | 66 | NWW4 | 0.9747 | 0.9718
Wallerawang 66 | 66 | NWW7 | 0.9747 | 0.9718
Wallerawang 330 PS Load | 330 | NWWP | 0.9766 | 0.9754
Wellington | 132 | NWL8 | 0.9824 | 0.9831
West Gosford | 11 | NGWF | 1.0026 | 1.0024
Williamsdale | 132 | NWDL | 1.0258 | 1.0356
Williamsdale (Essential Energy)(Bogong) | 132 | NWD1 | 1.0272 | 1.0382
Wyong | 11 | NWYG | 0.9958 | 0.9953
Yanco | 33 | NYA3 | 1.0833 | 1.1197
Yass | 66 | NYS6 | 1.0136 | 1.0191
Yass | 132 | NYS1 | 1.0054 | 1.0135
New South Wales Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2018-19 MLF | 2017-18 MLF
Bayswater PS Unit 1 | 330 | BW01 | NBAY1 | NBAY | 0.9538 | 0.952
Bayswater PS Unit 2 | 330 | BW02 | NBAY2 | NBAY | 0.9538 | 0.952
Bayswater PS Unit 3 | 500 | BW03 | NBAY3 | NBYW | 0.9555 | 0.9532
Bayswater PS Unit 4 | 500 | BW04 | NBAY4 | NBYW | 0.9555 | 0.9532
Blowering | 132 | BLOWERNG | NBLW8 | NBLW | 0.99 | 1.0506
Bodangora Wind Farm | 132 | BODWF1 | NBOD1B | NBOD | 0.9819 | 0.9847
Broken Hill GT 1 | 22 | GB01 | NBKG1 | NBKG | 1.0603 | 1.2841
Burrinjuck | 132 | BURRIN | NBUK | NBUK | 1.0124 | 1.0275
Capital Wind Farm | 330 | CAPTL_WF | NCWF1R | NCWF | 1.01 | 1.0163
Colongra PS Unit 1 | 330 | CG1 | NCLG1D | NCLG | 0.9827 | 0.9831
Colongra PS Unit 2 | 330 | CG2 | NCLG2D | NCLG | 0.9827 | 0.9831
Colongra PS Unit 3 | 330 | CG3 | NCLG3D | NCLG | 0.9827 | 0.9831
Colongra PS Unit 4 | 330 | CG4 | NCLG4D | NCLG | 0.9827 | 0.9831
Eraring 330 PS Unit 1 | 330 | ER01 | NEPS1 | NEP3 | 0.9828 | 0.982
Eraring 330 PS Unit 2 | 330 | ER02 | NEPS2 | NEP3 | 0.9828 | 0.982
Eraring 500 PS Unit 3 | 500 | ER03 | NEPS3 | NEPS | 0.9853 | 0.9846
Eraring 500 PS Unit 4 | 500 | ER04 | NEPS4 | NEPS | 0.9853 | 0.9846
Eraring PS Load | 500 | ERNL1 | NEPSL | NEPS | 0.9853 | 0.9846
Griffith Solar Farm | 33 | PARSF1 | NPG11P | NGG1 | 1.0603 | 1.1162
Gullen Range Solar Farm | 330 | GULLRSF1 | NGUR2G | NGUR | 0.9959 | 1.001
Gullen Range Wind Farm | 330 | GULLRWF1 | NGUR1G | NGUR | 0.9959 | 1.001
Guthega | 132 | GUTHEGA | NGUT8 | NGUT | 0.9537 | 0.9658
Guthega Auxiliary Supply | 11 | GUTHNL1 | NMY11 | NMY1 | 1.0256 | 1.0426
Hume (New South Wales Share) | 132 | HUMENSW | NHUM | NHUM | 1.0675 | 1.1055
Kangaroo Valley – Bendeela (Shoalhaven) Generation – dual MLF | 330 | SHGEN | NSHL | NSHN | 0.9981 | 0.9931
Kangaroo Valley (Shoalhaven) Pumps – dual MLF | 330 | SHPUMP | NSHP1 | NSHLPUMP | 1.0137 | 1.0141
Liddell 330 PS Load | 330 | LIDDNL1 | NLDPL | NLDP | 0.9537 | 0.9509
Liddell 330 PS Unit 1 | 330 | LD01 | NLDP1 | NLDP | 0.9537 | 0.9509
Liddell 330 PS Unit 2 | 330 | LD02 | NLDP2 | NLDP | 0.9537 | 0.9509
Liddell 330 PS Unit 3 | 330 | LD03 | NLDP3 | NLDP | 0.9537 | 0.9509
Liddell 330 PS Unit 4 | 330 | LD04 | NLDP4 | NLDP | 0.9537 | 0.9509
Lower Tumut Generation – dual MLF | 330 | TUMUT3 | NLTS8 | NLTS | 0.9954 | 1.0155
Lower Tumut Pipeline Auxiliary | 66 | TUMT3NL3 | NTU2L3 | NTU2 | 1.0438 | 1.0748
Lower Tumut Pumps – dual MLF | 330 | SNOWYP | NLTS3 | NLTS | 1.0545 | 1.0533
Lower Tumut T2 Auxiliary | 66 | TUMT3NL1 | NTU2L1 | NTU2 | 1.0438 | 1.0748
Lower Tumut T4 Auxiliary | 66 | TUMT3NL2 | NTU2L2 | NTU2 | 1.0438 | 1.0748
Mt Piper PS Load | 330 | MPNL1 | NMPPL | NMTP | 0.9738 | 0.9725
Mt Piper PS Unit 1 | 330 | MP1 | NMTP1 | NMTP | 0.9738 | 0.9725
Mt Piper PS Unit 2 | 330 | MP2 | NMTP2 | NMTP | 0.9738 | 0.9725
Murray (Geehi Tee off Auxiliary) | 330 | MURAYNL3 | NMURL3 | NMUR | 0.9069 | 0.8964
Murray Power Station M1 Auxiliary | 330 | MURAYNL1 | NMURL1 | NMUR | 0.9069 | 0.8964
Murray Power Station M2 Auxiliary | 330 | MURAYNL2 | NMURL2 | NMUR | 0.9069 | 0.8964
Parkes Solar Farm | 66 | GRISF1 | NGG11G | NPG1 | 0.9964 | 1.0135
Sapphire Wind Farm | 330 | SAPHWF1 | NSAP1S | NSAP | 0.8821 | 0.878
Silverton Wind Farm | 220 | STWF1 | NBKW1S | NBKW | 1.0062 | 1.0665
Upper Tumut | 330 | UPPTUMUT | NUTS8 | NUTS | 1.0112 | 1.0356
Uranquinty PS Unit 11 | 132 | URANQ11 | NURQ1U | NURQ | 0.9609 | 1.0087
Uranquinty PS Unit 12 | 132 | URANQ12 | NURQ2U | NURQ | 0.9609 | 1.0087
Uranquinty PS Unit 13 | 132 | URANQ13 | NURQ3U | NURQ | 0.9609 | 1.0087
Uranquinty PS Unit 14 | 132 | URANQ14 | NURQ4U | NURQ | 0.9609 | 1.0087
Vales Point 330 PS Load | 330 | VPNL1 | NVPPL | NVPP | 0.9851 | 0.9845
Vales Point 330 PS Unit 5 | 330 | VP5 | NVPP5 | NVPP | 0.9851 | 0.9845
Vales Point 330 PS Unit 6 | 330 | VP6 | NVPP6 | NVPP | 0.9851 | 0.9845
Woodlawn Wind Farm | 330 | WOODLWN1 | NCWF2W | NCWF | 1.01 | 1.0163
White Rock Wind Farm | 132 | WRWF1 | NWRK1W | NWRK | 0.8413 | 0.8468
New South Wales Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2018-19 MLF | 2017-18 MLF
Appin PS | 66 | APPIN | NAPP1A | NAPP | 1.001 | 1
Awaba Renewable Energy Facility | 132 | AWABAREF | NNEW2 | NNEW | 0.9901 | 0.9892
Bankstown Sport Club | 132 | BANKSPT1 | NSYS3R | NSYS | 1.0036 | 1.0033
Boco Rock Wind Farm | 132 | BOCORWF1 | NCMA3B | NBCO | 1.0068 | 1.0167
Broadwater PS | 132 | BWTR1 | NLS21B | NLS2 | 0.8965 | 0.9051
Broken Hill Solar Farm | 22 | BROKENH1 | NBK11B | NBK1 | 0.9789 | 1.2456
Brown Mountain | 66 | BROWNMT | NCMA1 | NCMA | 1.0307 | 1.0387
Burrendong Hydro PS | 132 | BDONGHYD | NWL81B | NWL8 | 0.9824 | 0.9831
Campbelltown WSLC | 66 | WESTCBT1 | NING1C | NING | 1.0006 | 1.0001
Condong PS | 110 | CONDONG1 | NTNR1C | NTNR | 0.9223 | 0.9406
Copeton Hydro PS | 66 | COPTNHYD | NNVL1C | NNVL | 0.9063 | 0.9127
Cullerin Range Wind Farm | 132 | CULLRGWF | NYS11C | NYS1 | 1.0054 | 1.0135
Eastern Creek | 132 | EASTCRK | NSW21 | NSW2 | 1.0033 | 1.0041
Eraring 330 BS UN (GT) | 330 | ERGT01 | NEP35B | NEP3 | 0.9828 | 0.982
Glenbawn Hydro PS | 132 | GLBWNHYD | NMRK2G | NMRK | 0.9659 | 0.9637
Glenn Innes (Pindari PS) | 66 | PINDARI | NGLN1 | NGLN | 0.892 | 0.9
Glennies Creek PS | 132 | GLENNCRK | NMRK3T | NMRK | 0.9659 | 0.9637
Grange Avenue | 132 | GRANGEAV | NVYD1 | NVYD | 0.9991 | 0.9989
Gunning Wind Farm | 132 | GUNNING1 | NYS12A | NYS1 | 1.0054 | 1.0135
Jindabyne Generator | 66 | JNDABNE1 | NCMA2 | NCMA | 1.0307 | 1.0387
Jounama PS | 66 | JOUNAMA1 | NTU21J | NTU2 | 1.0438 | 1.0748
Keepit | 66 | KEEPIT | NKPT | NKPT | 0.9579 | 0.9592
Kincumber Landfill | 66 | KINCUM1 | NGF31K | NGF3 | 1.0011 | 1.0008
Liddell 33 – Hunter Valley GTs | 33 | HVGTS | NLD31 | NLD3 | 0.9596 | 0.9582
Liverpool 132 (Jacks Gully) | 132 | JACKSGUL | NLP11 | NSW2 | 1.0033 | 1.0041
Lucas Heights II Power Plant | 132 | LUCASHGT | NSYS2G | NSYS | 1.0036 | 1.0033
Lucas Heights Stage 2 Power Station | 132 | LUCAS2S2 | NSYS1 | NSYS | 1.0036 | 1.0033
Manildra Solar Farm | 132 | MANSLR1 | NMLS1M | NMLS | 0.9905 | 0.9923
Moree Solar Farm | 66 | MOREESF1 | NMR41M | NMR4 | 0.8988 | 0.8911
Narromine Solar Farm | 132 | NASF1 | NWLS1N | NWLS | 0.9708 | 0.9714
Nine Willoughby | 132 | NINEWIL1 | NSE21R | NSE2 | 1.0049 | 1.0048
Nyngan Solar Farm | 132 | NYNGAN1 | NWL82N | NWL8 | 0.9824 | 0.9831
Sithe (Holroyd Generation) | 132 | SITHE01 | NSYW1 | NHD2 | 1 | 0.9979
South Keswick Solar Farm | 132 | SKSF1 | NWLS2S | NWLS | 0.9708 | 0.9714
St George Leagues Club | 33 | STGEORG1 | NPHT1E | NPHT | 1.0063 | 1.0068
Tahmoor PS | 132 | TAHMOOR1 | NLP12T | NLP1 | 1.0024 | 1.0022
Tallawarra PS | 132 | TALWA1 | NDT13T | NTWA | 1.0001 | 1.0013
Taralga Wind Farm | 132 | TARALGA1 | NMR22T | NMR2 | 0.9977 | 0.9998
Teralba Power Station | 132 | TERALBA | NNEW1 | NNEW | 0.9901 | 0.9892
The Drop Power Station | 66 | THEDROP1 | NFNY1D | NFNY | 1.1441 | 1.1256
Tower Power Plant | 132 | TOWER | NLP11T | NLP1 | 1.0024 | 1.0022
West Nowra | 132 | AGLNOW1 | NDT12 | NDT1 | 1.0037 | 1.0023
Wests Illawara Leagues Club | 132 | WESTILL1 | NDT14E | NDT1 | 1.0037 | 1.0023
Wilga Park A | 66 | WILGAPK | NNB21W | NNB2 | 0.9789 | 0.9746
Wilga Park B | 66 | WILGB01 | NNB22W | NNB2 | 0.9789 | 0.9746
Woodlawn Bioreactor | 132 | WDLNGN01 | NMR21W | NMR2 | 0.9977 | 0.9998
Woy Woy Landfill | 66 | WOYWOY1 | NGF32W | NGF3 | 1.0011 | 1.0008
Wyangala A PS | 66 | WYANGALA | NCW81A | NCW8 | 1.0411 | 1.0435
Wyangala B PS | 66 | WYANGALB | NCW82B | NCW8 | 1.0411 | 1.0435

## Australian Capital Territory
Australian Capital Territory (regional reference node is Sydney West 330)
Australian Capital Territory Loads
Location | Voltage (kV) | TNI | 2018-19 MLF | 2017-18 MLF | Remark
Canberra | 132 | ACA1 | 1.0266 | 1.0362 | see note (*)
Angle Crossing | 132 | AAXG | 1.0327 | 1.0371 | see note (**)
Belconnen | 132 | ABCN | 1.0288 | 1.0388 | see note (**)
City East | 132 | ACTE | 1.0322 | 1.0419 | see note (**)
Civic | 132 | ACVC | 1.0295 | 1.0394 | see note (**)
East lake | 132 | AELK | 1.0309 | 1.0406 | see note (**)
Gilmore | 132 | AGLM | 1.0303 | 1.0397 | see note (**)
Gold Creek | 132 | AGCK | 1.0283 | 1.0383 | see note (**)
Latham | 132 | ALTM | 1.0276 | 1.0377 | see note (**)
Telopea Park | 132 | ATLP | 1.032 | 1.0415 | see note (**)
Theodore | 132 | ATDR | 1.0293 | 1.0389 | see note (**)
Wanniassa | 132 | AWSA | 1.0304 | 1.04 | see note (**)
Woden | 132 | AWDN | 1.0296 | 1.0394 | see note (**)
ACT VTN | 132 | AAVT | 1.03 | 1.0396 | see note (**)
Queanbeyan (ACTEW) | 66 | AQB1 | 1.0438 | 1.0563
Queanbeyan (Essential Energy) | 66 | AQB2 | 1.0438 | 1.0563
Australian Capital Territory Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2018-19 MLF | 2017-18 MLF | Remark
Capital East Solar Farm | 66 | CESF1 | AQB21C | AQB2 | 1.0438 | 1.0563
Mugga Lane Solar Farm | 132 | MLSP1 | ACA12M | AMS1 | 1.0266 | 1.0362 | see note (*)
Royalla Solar Farm | 132 | ROYALLA1 | ACA11R | ARS1 | 1.0266 | 1.0362 | see note (*)
Mugga Lane SF @ Gilmore4 | 132 |  |  | AMS1 | 1.02 | 1.0395
Royalla Solar Farm @ Theodore4 | 132 |  |  | ARS1 | 1.0178 | 1.0386
Notes
(*) There is a currently a registration process in place to replace ACA1 and NWDL TNIs with 12 new TNIs in the ActewAGL network. Royalla and Mugga Lane Solar Farms will also have separate TNIs as part of this process. The 2018-19 MLF for ACA1 listed in the table above will apply from 1 July 2018 until the time when the 12 new TNIs are registered and in commercial operation.
(**) The 2018-19 MLF value will apply once the TNI registration process is complete and in commercial operation (see note above).

## Victoria
Victoria (regional reference node is Thomastown 66)
Victoria Loads
Location | Voltage (kV) | TNI | 2018-19 MLF | 2017-18 MLF
Altona | 66 | VATS | 1.0054 | 1.0084
Altona | 220 | VAT2 | 1.0018 | 1.0081
Ballarat | 66 | VBAT | 1.0016 | 1.016
Bendigo | 66 | VBE6 | 1.0139 | 1.0398
Bendigo | 22 | VBE2 | 1.0163 | 1.0405
BHP Western Port | 220 | VJLA | 0.9944 | 0.9948
Brooklyn (Jemena) | 22 | VBL2 | 1.0051 | 1.0081
Brooklyn (Jemena) | 66 | VBL6 | 1.0042 | 1.0069
Brooklyn (Powercor) | 22 | VBL3 | 1.0051 | 1.0081
Brooklyn (Powercor) | 66 | VBL7 | 1.0042 | 1.0069
Brunswick (CITIPOWER) | 22 | VBT2 | 1.0008 | 1.0008
Brunswick (Jemena) | 22 | VBTS | 1.0008 | 1.0008
Brunswick 66 (CitiPower) | 66 | VBT6 | 0.9992 | 0.9993
Cranbourne | 220 | VCB2 | 0.9935 | 0.9933
Cranbourne (AusNet Services) | 66 | VCBT | 0.9957 | 0.9962
Cranbourne (United Energy) | 66 | VCB5 | 0.9957 | 0.9962
Deer Park | 66 | VDPT | 1.0038 | 1.0069
East Rowville (AusNet Services) | 66 | VER2 | 0.9956 | 0.9962
East Rowville (United Energy) | 66 | VERT | 0.9956 | 0.9962
Fishermens Bend (CityPower) | 66 | VFBT | 1.0034 | 1.0046
Fishermens Bend (Powercor) | 66 | VFB2 | 1.0034 | 1.0046
Fosterville | 220 | VFVT | 1.0096 | 1.0305
Geelong | 66 | VGT6 | 1.0002 | 1.0055
Glenrowan | 66 | VGNT | 0.9903 | 0.9884
Heatherton | 66 | VHTS | 1.0001 | 1.0007
Heywood | 22 | VHY2 | 1.0028 | 1.0096
Horsham | 66 | VHOT | 0.9957 | 1.0473
Keilor (Jemena) | 66 | VKT2 | 1.0024 | 1.0048
Keilor (Powercor) | 66 | VKTS | 1.0024 | 1.0048
Kerang | 22 | VKG2 | 1.0292 | 1.0779
Kerang | 66 | VKG6 | 1.0192 | 1.0755
Khancoban | 330 | NKHN | 0.9459 | 0.9369
Loy Yang Substation | 66 | VLY6 | 0.9822 | 0.9826
Malvern | 22 | VMT2 | 0.9983 | 0.9982
Malvern | 66 | VMT6 | 0.9971 | 0.9971
Morwell Power Station Units 1 to 3 | 66 | VMWG | 0.9816 | 0.982
Morwell PS (G4&5) | 11 | VMWP | 0.9817 | 0.9821
Morwell TS | 66 | VMWT | 0.9879 | 0.9886
Mt Beauty | 66 | VMBT | 0.9882 | 0.9743
Portland | 500 | VAPD | 1.0058 | 1.0121
Pt Henry | 220 | VPTH | 0.998 | 1.003
Red Cliffs | 22 | VRC2 | 1.0129 | 1.1108
Red Cliffs | 66 | VRC6 | 1.0062 | 1.1068
Red Cliffs (Essential Energy) | 66 | VRCA | 1.0062 | 1.1068
Richmond | 22 | VRT2 | 0.9996 | 0.9997
Richmond (CityPower) | 66 | VRT7 | 1.0011 | 1.0015
Richmond (United Energy) | 66 | VRT6 | 1.0011 | 1.0015
Ringwood (AusNet Services) | 22 | VRW3 | 1.0007 | 1.0005
Ringwood (AusNet Services) | 66 | VRW7 | 1.0012 | 1.0005
Ringwood (United Energy) | 22 | VRW2 | 1.0007 | 1.0005
Ringwood (United Energy) | 66 | VRW6 | 1.0012 | 1.0005
Shepparton | 66 | VSHT | 1.0002 | 1.0037
South Morang (Jemena) | 66 | VSM6 | 0.9979 | 0.998
South Morang (AusNet Services) | 66 | VSMT | 0.9979 | 0.998
Springvale (CityPower) | 66 | VSVT | 0.9986 | 0.9989
Springvale (United Energy) | 66 | VSV2 | 0.9986 | 0.9989
Templestowe (CityPower) | 66 | VTS2 | 1.0006 | 1.0005
Templestowe (Jemena) | 66 | VTST | 1.0006 | 1.0005
Templestowe (AusNet Services) | 66 | VTS3 | 1.0006 | 1.0005
Templestowe (United Energy) | 66 | VTS4 | 1.0006 | 1.0005
Terang | 66 | VTGT | 1.0149 | 1.0322
Thomastown (Jemena) | 66 | VTTS | 1 | 1
Thomastown (AusNet Services) | 66 | VTT2 | 1 | 1
Tyabb | 66 | VTBT | 0.9958 | 0.9963
Wemen 66 (Essential Energy) | 66 | VWEA | 1.0066 | 1.1038
Wemen TS | 66 | VWET | 1.0066 | 1.1038
West Melbourne | 22 | VWM2 | 1.0019 | 1.0027
West Melbourne (CityPower) | 66 | VWM7 | 1.0029 | 1.0041
West Melbourne (Jemena) | 66 | VWM6 | 1.0029 | 1.0041
Wodonga | 22 | VWO2 | 0.9735 | 0.9654
Wodonga | 66 | VWO6 | 0.9712 | 0.9621
Yallourn | 11 | VYP1 | 0.9584 | 0.9582
Victoria Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2018-19 MLF | 2017-18 MLF
Ararat WF | 220 | ARWF1 | VART1A | VART | 0.9691 | 1.0019
Banimboola | 220 | BAPS | VDPS2 | VDPS | 0.9249 | 0.9372
Bannerton Solar Farm | 66 | BANN1 | VWES1B | VRC6 | 1.0062 | 1.1068
Basslink (Loy Yang Power Station Switchyard) Tasmania to Victoria | 500 | BLNKVIC | VLYP13 | VTBL | 0.9839 | 0.9874
Dartmouth PS | 220 | DARTM1 | VDPS | VDPS | 0.9249 | 0.9372
Eildon PS Unit 1 | 220 | EILDON1 | VEPS1 | VEPS | 0.9782 | 0.9696
Eildon PS Unit 2 | 220 | EILDON2 | VEPS2 | VEPS | 0.9782 | 0.9696
Hazelwood PS Load | 220 | HWPNL1 | VHWPL | VHWP | 0.9813 | 0.982
Jeeralang A PS Unit 1 | 220 | JLA01 | VJLGA1 | VJLG | 0.9783 | 0.983
Jeeralang A PS Unit 2 | 220 | JLA02 | VJLGA2 | VJLG | 0.9783 | 0.983
Jeeralang A PS Unit 3 | 220 | JLA03 | VJLGA3 | VJLG | 0.9783 | 0.983
Jeeralang A PS Unit 4 | 220 | JLA04 | VJLGA4 | VJLG | 0.9783 | 0.983
Jeeralang B PS Unit 1 | 220 | JLB01 | VJLGB1 | VJLG | 0.9783 | 0.983
Jeeralang B PS Unit 2 | 220 | JLB02 | VJLGB2 | VJLG | 0.9783 | 0.983
Jeeralang B PS Unit 3 | 220 | JLB03 | VJLGB3 | VJLG | 0.9783 | 0.983
Jindabyne pump at Guthega | 132 | SNOWYGJP | NGJP | NGJP | 1.0124 | 1.0474
Kiata Wind Farm | 66 | KIATAWF1 | VHOG1K | VHOG | 0.9911 | 1.0357
Laverton PS (LNGS1) | 220 | LNGS1 | VAT21L | VAT2 | 1.0018 | 1.0081
Laverton PS (LNGS2) | 220 | LNGS2 | VAT22L | VAT2 | 1.0018 | 1.0081
Loy Yang A PS Load | 500 | LYNL1 | VLYPL | VLYP | 0.9798 | 0.9801
Loy Yang A PS Unit 1 | 500 | LYA1 | VLYP1 | VLYP | 0.9798 | 0.9801
Loy Yang A PS Unit 2 | 500 | LYA2 | VLYP2 | VLYP | 0.9798 | 0.9801
Loy Yang A PS Unit 3 | 500 | LYA3 | VLYP3 | VLYP | 0.9798 | 0.9801
Loy Yang A PS Unit 4 | 500 | LYA4 | VLYP4 | VLYP | 0.9798 | 0.9801
Loy Yang B PS Unit 1 | 500 | LOYYB1 | VLYP5 | VLYP | 0.9798 | 0.9801
Loy Yang B PS Unit 2 | 500 | LOYYB2 | VLYP6 | VLYP | 0.9798 | 0.9801
MacArthur Wind Farm | 500 | MACARTH1 | VTRT1M | VTRT | 0.9971 | 1.0017
McKay Creek / Bogong PS | 220 | MCKAY1 | VMKP1 | VT14 | 0.9265 | 0.9213
Mortlake Unit 1 | 500 | MORTLK11 | VM0P1O | VM0P | 0.9961 | 1.005
Mortlake Unit 2 | 500 | MORTLK12 | VM0P2O | VM0P | 0.9961 | 1.005
Mt Mercer Windfarm | 220 | MERCER01 | VELT1M | VELT | 0.9909 | 1.001
Murray | 330 | MURRAY | NMUR8 | NMUR | 0.9069 | 0.8964
Newport PS | 220 | NPS | VNPS | VNPS | 0.9962 | 0.999
Salt Creek Wind Farm | 66 | SALTCRK1 | VTG61S | VTG6 | 1.0076 | 1.0193
Valley Power Unit 1 | 500 | VPGS1 | VLYP07 | VLYP | 0.9798 | 0.9801
Valley Power Unit 2 | 500 | VPGS2 | VLYP08 | VLYP | 0.9798 | 0.9801
Valley Power Unit 3 | 500 | VPGS3 | VLYP09 | VLYP | 0.9798 | 0.9801
Valley Power Unit 4 | 500 | VPGS4 | VLYP010 | VLYP | 0.9798 | 0.9801
Valley Power Unit 5 | 500 | VPGS5 | VLYP011 | VLYP | 0.9798 | 0.9801
Valley Power Unit 6 | 500 | VPGS6 | VLYP012 | VLYP | 0.9798 | 0.9801
Waubra Wind Farm | 220 | WAUBRAWF | VWBT1A | VWBT | 0.9784 | 0.9997
West Kiewa PS Unit 1 | 220 | WKIEWA1 | VWKP1 | VWKP | 0.9607 | 0.954
West Kiewa PS Unit 2 | 220 | WKIEWA2 | VWKP2 | VWKP | 0.9607 | 0.954
Yallourn W PS 220 Load | 220 | YWNL1 | VYP2L | VYP2 | 0.9573 | 0.9558
Yallourn W PS 220 Unit 1 | 220 | YWPS1 | VYP21 | VYP3 | 0.9696 | 0.9702
Yallourn W PS 220 Unit 2 | 220 | YWPS2 | VYP22 | VYP2 | 0.9573 | 0.9558
Yallourn W PS 220 Unit 3 | 220 | YWPS3 | VYP23 | VYP2 | 0.9573 | 0.9558
Yallourn W PS 220 Unit 4 | 220 | YWPS4 | VYP24 | VYP2 | 0.9573 | 0.9558
Yaloak South WF | 66 | YSWF1 | VBAT4Y | VBAT | 1.0016 | 1.016
Victoria Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2018-19 MLF | 2017-18 MLF
Bairnsdale Power Station | 66 | BDL01 | VMWT2 | VBDL | 0.9866 | 0.9863
Bairnsdale Power Station Generator Unit 2 | 66 | BDL02 | VMWT3 | VBDL | 0.9866 | 0.9863
Bald Hills WF | 66 | BALDHWF1 | VMWT9B | VMWT | 0.9879 | 0.9886
Ballarat Health Services | 66 | BBASEHOS | VBAT1H | VBAT | 1.0016 | 1.016
Broadmeadows Power Plant | 66 | BROADMDW | VTTS2B | VTTS | 1 | 1
Brooklyn Landfill & Recycling Facility | 66 | BROOKLYN | VBL61 | VBL6 | 1.0042 | 1.0069
Chepstowe Wind Farm | 66 | CHPSTWF1 | VBAT3C | VBAT | 1.0016 | 1.016
Clayton Landfill Gas Power Station | 66 | CLAYTON | VSV21B | VSV2 | 0.9986 | 0.9989
Clover PS | 66 | CLOVER | VMBT1 | VMBT | 0.9882 | 0.9743
Codrington Wind Farm | 66 | CODRNGTON | VTGT2C | VTGT | 1.0149 | 1.0322
Coonooer Bridge WF | 66 | CBWF1 | VBE61C | VBE6 | 1.0139 | 1.0398
Corio LFG PS | 66 | CORIO1 | VGT61C | VGT6 | 1.0002 | 1.0055
Eildon Hydro PS | 66 | EILDON3 | VTT22E | VSMT | 0.9979 | 0.998
Gannawarra Solar Farm | 66 | GANNSF1 | VKGS1G | VKGS | 0.9729 | 1.044
Glenmaggie Hydro PS | 66 | GLENMAG1 | VMWT8G | VMWT | 0.9879 | 0.9886
Hallam Mini Hydro | 66 | HLMSEW01 | VER21H | VER2 | 0.9956 | 0.9962
Hallam Road Renewable Energy Facility | 66 | HALAMRD1 | VER22L | VER2 | 0.9956 | 0.9962
Hepburn Community WF | 66 | HEPWIND1 | VBAT2L | VBAT | 1.0016 | 1.016
Hume (Victorian Share) | 66 | HUMEV | VHUM | VHUM | 0.9498 | 0.8911
Longford | 66 | LONGFORD | VMWT6 | VMWT | 0.9879 | 0.9886
Maroona Wind Farm | 66 | MAROOWF1 | VBAT5M | VBAT | 1.0016 | 1.016
Mornington Landfill Site Generator | 66 | MORNW | VTBT1 | VTBT | 0.9958 | 0.9963
Mortons Lane Wind Farm | 66 | MLWF1 | VTGT4M | VTGT | 1.0149 | 1.0322
Oaklands Hill Wind Farm | 66 | OAKLAND1 | VTGT3A | VTGT | 1.0149 | 1.0322
Rubicon Mountain Streams Station | 66 | RUBICON | VTT21R | VSMT | 0.9979 | 0.9978
Shepparton Waste Gas | 66 | SHEP1 | VSHT2S | VSHT | 1.0002 | 1.0037
Somerton Power Station | 66 | AGLSOM | VTTS1 | VSOM | 0.9963 | 0.9968
Springvale Power Plant | 66 | SVALE1 | VSV22S | VSV2 | 0.9986 | 0.9989
Tatura | 66 | TATURA01 | VSHT1 | VSHT | 1.0002 | 1.0037
Toora Wind Farm | 66 | TOORAWF | VMWT5 | VMWT | 0.9879 | 0.9886
Traralgon NSS | 66 | TGNSS1 | VMWT1T | VMWT | 0.9879 | 0.9886
William Horvell Hydro PS | 66 | WILLHOV1 | VW061W | VWO6 | 0.9712 | 0.9621
Wollert Renewable Energy Facility | 66 | WOLLERT1 | VSMT1W | VSMT | 0.9979 | 0.998
Wonthaggi Wind Farm | 66 | WONWP | VMWT7 | VMWT | 0.9879 | 0.9886
Wyndham Landfill Site Generator | 66 | WYNDW | VATS1 | VATS | 1.0054 | 1.0084
Yambuk Wind Farm | 66 | YAMBUKWF | VTGT1 | VTGT | 1.0149 | 1.0322
Yarrawonga Hydro PS | 66 | YWNGAHYD | VSHT3Y | VSHT | 1.0002 | 1.0037

## South Australia
South Australia (regional reference node is Torrens Island PS 66)
South Australia Loads
Location | Voltage (kV) | TNI | 2018-19 MLF | 2017-18 MLF
Angas Creek | 33 | SANC | 1.008 | 1.0096
Ardrossan West | 33 | SARW | 0.9582 | 0.9541
Back Callington | 11 | SBAC | 1.0094 | 1.0092
Baroota | 33 | SBAR | 0.9997 | 1.0066
Berri | 66 | SBER | 1.0072 | 0.9485
Berri (Powercor) | 66 | SBE1 | 1.0072 | 0.9485
Blanche | 33 | SBLA | 0.9693 | 0.9371
Blanche (Powercor) | 33 | SBL1 | 0.9693 | 0.9371
Brinkworth | 33 | SBRK | 0.9967 | 1.0011
Bungama Industrial | 33 | SBUN | 0.9939 | 1.0016
Bungama Rural | 33 | SBUR | 1.0026 | 1.0114
City West | 66 | SACR | 1.0044 | 1.0045
Clare North | 33 | SCLN | 0.9924 | 0.9972
Dalrymple | 33 | SDAL | 0.9258 | 0.9193
Davenport | 275 | SDAV | 0.9928 | 1.0048
Davenport | 33 | SDAW | 0.9941 | 1.0066
Dorrien | 33 | SDRN | 1.0064 | 1.0083
East Terrace | 66 | SETC | 1.0036 | 1.0047
Happy Valley | 66 | SHVA | 1.0054 | 1.0051
Hummocks | 33 | SHUM | 0.9724 | 0.9751
Kadina East | 33 | SKAD | 0.9791 | 0.9804
Kanmantoo | 11 | SKAN | 1.0087 | 1.0089
Keith | 33 | SKET | 0.9952 | 0.978
Kilburn | 66 | SKLB | 1.0019 | 1.0035
Kincraig | 33 | SKNC | 0.9799 | 0.9571
Lefevre | 66 | SLFE | 0.9999 | 0.9995
Leigh Creek | 33 | SLCC | 1.0506 | 1.0575
Leigh Creek South | 33 | SLCS | 1.0549 | 1.0589
Magill | 66 | SMAG | 1.0039 | 1.0044
Mannum | 33 | SMAN | 1.009 | 1.0098
Mannum – Adelaide Pipeline 1 | 3.3 | SMA1 | 1.0135 | 1.0143
Mannum – Adelaide Pipeline 2 | 3.3 | SMA2 | 1.0122 | 1.0134
Mannum – Adelaide Pipeline 3 | 3.3 | SMA3 | 1.0121 | 1.0136
Middleback | 33 | SMDL | 0.9996 | 1.0085
Middleback | 132 | SMBK | 1.0014 | 1.0102
Millbrook | 132 | SMLB | 1.004 | 1.0055
Mobilong | 33 | SMBL | 1.0079 | 1.0065
Morgan – Whyalla Pipeline 1 | 3.3 | SMW1 | 1.0023 | 0.9797
Morgan – Whyalla Pipeline 2 | 3.3 | SMW2 | 0.9991 | 0.9872
Morgan – Whyalla Pipeline 3 | 3.3 | SMW3 | 0.9947 | 0.9921
Morgan – Whyalla Pipeline 4 | 3.3 | SMW4 | 0.9919 | 0.9926
Morphett Vale East | 66 | SMVE | 1.0068 | 1.0047
Mount Barker South | 66 | SMBS | 1.005 | 1.0041
Mt Barker | 66 | SMBA | 1.0043 | 1.0041
Mt Gambier | 33 | SMGA | 0.9708 | 0.939
Mt Gunson | 33 | SMGU | 1.0257 | 1.0373
Munno Para | 66 | SMUP | 1.0002 | 1.0035
Murray Bridge – Hahndorf Pipeline 1 | 11 | SMH1 | 1.0129 | 1.0088
Murray Bridge – Hahndorf Pipeline 2 | 11 | SMH2 | 1.0157 | 1.0105
Murray Bridge – Hahndorf Pipeline 3 | 11 | SMH3 | 1.014 | 1.0102
Neuroodla | 33 | SNEU | 1.0226 | 1.0308
New Osborne | 66 | SNBN | 0.9997 | 0.999
North West Bend | 66 | SNWB | 1.0013 | 0.9778
Northfield | 66 | SNFD | 1.0031 | 1.0034
Para | 66 | SPAR | 1.0026 | 1.0041
Parafield Gardens West | 66 | SPGW | 1.003 | 1.0039
Penola West 33 | 33 | SPEN | 0.9664 | 0.9376
Pimba | 132 | SPMB | 1.0731 | 1.0429
Playford | 132 | SPAA | 0.9918 | 1.0038
Port Lincoln | 33 | SPLN | 0.985 | 0.99
Port Pirie | 33 | SPPR | 0.999 | 1.011
Roseworthy | 11 | SRSW | 1.009 | 1.0103
Snuggery Industrial (Dual MLF Generation) | 33 | SSNN | 0.943 | 0.9174
Snuggery Industrial (Dual MLF Load) | 33 | SSNN | 0.9482 | 0.9102
Snuggery Rural | 33 | SSNR | 0.9457 | 0.9181
South Australian VTN |  | SJP1 | 0.9998 | 0.9994
Stony Point | 11 | SSPN | 0.999 | 1.0109
Tailem Bend | 33 | STAL | 1.0017 | 0.9936
Templers | 33 | STEM | 1.0046 | 1.0061
Torrens Island | 66 | STSY | 1 | 1
Waterloo | 33 | SWAT | 0.9886 | 0.9897
Whyalla Central Substation | 33 | SWYC | 0.9996 | 1.0112
Whyalla Terminal BHP | 33 | SBHP | 0.9988 | 1.0107
Woomera | 132 | SWMA | 1.032 | 1.0432
Wudina | 66 | SWUD | 1.0049 | 1.0118
Yadnarie | 66 | SYAD | 0.9927 | 0.9986
South Australia Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2018-19 MLF | 2017-18 MLF
Bungala one Solar Farm | 132 | BNGSF1 | SBEM1B | SBEM | 0.97 | 0.9946
Cathedral Rocks Wind Farm | 132 | CATHROCK | SCRK | SCRK | 0.886 | 0.8965
Clements Gap Wind Farm | 132 | CLEMGPWF | SCGW1P | SCGW | 0.9683 | 0.9787
Dry Creek PS Unit 1 | 66 | DRYCGT1 | SDCA1 | SDPS | 1.003 | 1.0019
Dry Creek PS Unit 2 | 66 | DRYCGT2 | SDCA2 | SDPS | 1.003 | 1.0019
Dry Creek PS Unit 3 | 66 | DRYCGT3 | SDCA3 | SDPS | 1.003 | 1.0019
Dalrymple North BESS - Gen | 33 | DALNTH01 | SDAN1D | SDAN | 0.888 | 0.8848
Dalrymple North BESS - Load | 33 | DALNTHL1 | SDAN2D | SDAN | 0.9326 | 0.9099
Hallett 2 Wind Farm | 275 | HALLWF2 | SMOK1H | SMOK | 0.9715 | 0.9818
Hallett PS | 275 | AGLHAL | SHPS1 | SHPS | 0.9715 | 0.982
Hallett Wind Farm | 275 | HALLWF1 | SHPS2W | SHPS | 0.9715 | 0.982
Hornsdale Wind Farm Stage 1 | 275 | HDWF1 | SHDW1H | SHDW | 0.9744 | 0.9799
Hornsdale Wind Farm Stage 2 | 275 | HDWF2 | SHDW2H | SHDW | 0.9744 | 0.9799
Hornsdale Wind Farm Stage 3 | 275 | HDWF3 | SHDW3H | SHDW | 0.9744 | 0.9799
Hornsdale Battery – generation | 275 | HPRG1 | SMTL1H | SMTL | 0.9771 | 0.9886
Hornsdale Battery – load | 275 | HPRL1 | SMTL2H | SMTL | 0.9853 | 0.9886
Ladbroke Grove PS Unit 1 | 132 | LADBROK1 | SPEW1 | SPEW | 0.9474 | 0.917
Ladbroke Grove PS Unit 2 | 132 | LADBROK2 | SPEW2 | SPEW | 0.9474 | 0.917
Lake Bonney Wind Farm | 33 | LKBONNY1 | SMAY1 | SMAY | 0.9144 | 0.8906
Lake Bonney Wind Farm Stage 2 | 33 | LKBONNY2 | SMAY2 | SMAY | 0.9144 | 0.8906
Lake Bonney Wind Farm Stage 3 | 33 | LKBONNY3 | SMAY3W | SMAY | 0.9144 | 0.8906
Mintaro PS | 132 | MINTARO | SMPS | SMPS | 0.9942 | 0.9941
Mt Millar Wind Farm | 33 | MTMILLAR | SMTM1 | SMTM | 0.9055 | 0.9172
North Brown Hill Wind Farm | 275 | NBHWF1 | SBEL1A | SBEL | 0.9674 | 0.9798
O.C.P.L. Unit 1 | 66 | OSB-AG | SNBN1 | SOCP | 0.9992 | 0.9988
Pelican Point PS | 275 | PPCCGT | SPPT | SPPT | 1.0005 | 1.0012
Port Lincoln 3 | 33 | POR03 | SPL31P | SPL3 | 1.0383 | 1.051
Port Lincoln PS | 132 | POR01 | SPLN1 | SPTL | 0.9691 | 1.0158
Quarantine PS Unit 1 | 66 | QPS1 | SQPS1 | SQPS | 0.9854 | 0.9856
Quarantine PS Unit 2 | 66 | QPS2 | SQPS2 | SQPS | 0.9854 | 0.9856
Quarantine PS Unit 3 | 66 | QPS3 | SQPS3 | SQPS | 0.9854 | 0.9856
Quarantine PS Unit 4 | 66 | QPS4 | SQPS4 | SQPS | 0.9854 | 0.9856
Quarantine PS Unit 5 | 66 | QPS5 | SQPS5Q | SQPS | 0.9854 | 0.9856
Snowtown WF Stage 2 – North | 275 | SNOWNTH1 | SBLWS1 | SBLW | 0.9813 | 0.9869
Snowtown WF Stage 2 – South | 275 | SNOWSTH1 | SBLWS2 | SBLW | 0.9813 | 0.9869
Snowtown Wind Farm | 33 | SNOWTWN1 | SNWF1T | SNWF | 0.9203 | 0.9296
Snuggery PS Units 1 to 3 | 132 | SNUG1 | SSGA1 | SSPS | 0.9325 | 0.9318
The Bluff wind Farm | 275 | BLUFF1 | SBEL2P | SBEL | 0.9674 | 0.9798
Torrens Island PS A Unit 1 | 275 | TORRA1 | STSA1 | STPS | 1.0009 | 1.0016
Torrens Island PS A Unit 2 | 275 | TORRA2 | STSA2 | STPS | 1.0009 | 1.0016
Torrens Island PS A Unit 3 | 275 | TORRA3 | STSA3 | STPS | 1.0009 | 1.0016
Torrens Island PS A Unit 4 | 275 | TORRA4 | STSA4 | STPS | 1.0009 | 1.0016
Torrens Island PS B Unit 1 | 275 | TORRB1 | STSB1 | STPS | 1.0009 | 1.0016
Torrens Island PS B Unit 2 | 275 | TORRB2 | STSB2 | STPS | 1.0009 | 1.0016
Torrens Island PS B Unit 3 | 275 | TORRB3 | STSB3 | STPS | 1.0009 | 1.0016
Torrens Island PS B Unit 4 | 275 | TORRB4 | STSB4 | STPS | 1.0009 | 1.0016
Torrens Island PS Load | 66 | TORNL1 | STSYL | STSY | 1 | 1
Waterloo Wind Farm | 132 | WATERLWF | SWLE1R | SWLE | 0.9712 | 0.9751
Wattle Point Wind Farm | 132 | WPWF | SSYP1 | SSYP | 0.8279 | 0.833
South Australia Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2018-19 MLF | 2017-18 MLF
Amcor Glass UN 1 | 11 | AMCORGR | SRSW1E | SRSW | 1.009 | 1.0103
Angaston Power Station | 33 | ANGAST1 | SDRN1 | SANG | 1.0087 | 1.0121
Blue Lake Milling | 33 | BLULAKE1 | SKET2B | SKET | 0.9952 | 0.978
Bolivar WWT Plant (NEW) | 66 | BOLIVAR1 | SPGW1B | SPGW | 1.003 | 1.0039
Canunda Wind Farm | 33 | CNUNDAWF | SSNN1 | SCND | 0.9237 | 0.8967
Cummins Lonsdale PS | 66 | LONSDALE | SMVE1 | SMVE | 1.0068 | 1.0047
Morphett Vale East 66 (Generation) | 66 | SATGS1 | SMVG1L | SMVG | 1.0061 | 1.0007
Para 66 (Generation) | 66 | SATGN1 | SPAG1E | SPAG | 0.9971 | 1.0022
Pt Stanvac PS | 66 | PTSTAN1 | SMVE3P | SMVE | 1.0068 | 1.0047
Starfish Hill Wind Farm | 66 | STARHLWF | SMVE2 | SMVE | 1.0068 | 1.0047
Tatiara Meat Co | 33 | TATIARA1 | SKET1E | SKET | 0.9952 | 0.978
Wingfield 1 LFG PS | 66 | WINGF1_1 | SKLB1W | SKLB | 1.0019 | 1.0035
Wingfield 2 LFG PS | 66 | WINGF2_1 | SNBN2W | SNBN | 0.9997 | 0.999

## Tasmania
Tasmania (regional reference node is George Town 220 kV)
Tasmania Loads
Location | Voltage (kV) | TNI | 2018-19 MLF | 2017-18 MLF
Arthurs Lake | 6.6 | TAL2 | 0.9943 | 0.9937
Avoca | 22 | TAV2 | 1.014 | 1.0017
Boyer SWA | 6.6 | TBYA | 1.0227 | 1.0199
Boyer SWB | 6.6 | TBYB | 1.0239 | 1.0197
Bridgewater | 11 | TBW2 | 1.0233 | 1.0141
Burnie | 22 | TBU3 | 0.9857 | 0.9855
Chapel St. | 11 | TCS3 | 1.0231 | 1.0127
Comalco | 220 | TCO1 | 1.0006 | 1.0006
Creek Road | 33 | TCR2 | 1.0232 | 1.014
Derby | 22 | TDE2 | 0.9647 | 0.9672
Derwent Bridge | 22 | TDB2 | 0.9386 | 0.9368
Devonport | 22 | TDP2 | 0.9885 | 0.9884
Electrona | 11 | TEL2 | 1.036 | 1.0255
Emu Bay | 11 | TEB2 | 0.9832 | 0.9829
Fisher (Rowallan) | 220 | TFI1 | 0.966 | 0.9671
George Town | 22 | TGT3 | 1.0025 | 1.0023
George Town (Basslink) | 220 | TGT1 | 1 | 1
Gordon | 22 | TGO2 | 1.0024 | 1.0012
Greater Hobart Area VTN |  | TVN1 | 1.0236 | 1.0155
Hadspen | 22 | THA3 | 0.9967 | 0.9941
Hampshire | 110 | THM2 | 0.9819 | 0.9834
Huon River | 11 | THR2 | 1.038 | 1.0316
Kermandie | 11 | TKE2 | 1.0399 | 1.0312
Kingston | 33 | TK13 | 1.029 | 1.0188
Kingston | 11 | TKI2 | 1.0306 | 1.0196
Knights Road | 11 | TKR2 | 1.0433 | 1.0353
Lindisfarne | 33 | TLF2 | 1.0237 | 1.0159
Meadowbank | 22 | TMB2 | 0.9938 | 0.9919
Mornington | 33 | TMT2 | 1.0239 | 1.0162
Mowbray | 22 | TMY2 | 0.9955 | 0.9927
New Norfolk | 22 | TNN2 | 1.0179 | 1.0128
Newton | 22 | TNT2 | 0.9773 | 0.9712
Newton | 11 | TNT3 | 0.9552 | 0.9607
North Hobart | 11 | TNH2 | 1.0224 | 1.015
Norwood | 22 | TNW2 | 0.9951 | 0.9926
Palmerston | 22 | TPM3 | 0.9847 | 0.987
Port Latta | 22 | TPL2 | 0.9604 | 0.9664
Que | 22 | TQU2 | 0.9743 | 0.9708
Queenstown | 11 | TQT3 | 0.9635 | 0.9546
Queenstown | 22 | TQT2 | 0.9629 | 0.9629
Railton | 22 | TRA2 | 0.99 | 0.9899
Risdon | 33 | TRI4 | 1.0245 | 1.018
Risdon | 11 | TRI3 | 1.0257 | 1.0228
Rokeby | 11 | TRK2 | 1.0259 | 1.0163
Rosebery | 44 | TRB2 | 0.975 | 0.9727
Savage River | 22 | TSR2 | 0.9938 | 1.0013
Scottsdale | 22 | TSD2 | 0.9731 | 0.9735
Smithton | 22 | TST2 | 0.9482 | 0.9493
Sorell | 22 | TSO2 | 1.0317 | 1.0239
St Leonard | 22 | TSL2 | 0.9947 | 0.9915
St. Marys | 22 | TSM2 | 1.0284 | 1.0165
Starwood | 110 | TSW1 | 1.0011 | 1.0009
Tamar Region VTN |  | TVN2 | 0.9965 | 0.9938
Temco | 110 | TTE1 | 1.0043 | 1.0039
Trevallyn | 22 | TTR2 | 0.9961 | 0.9931
Triabunna | 22 | TTB2 | 1.0454 | 1.0382
Tungatinah | 22 | TTU2 | 0.9396 | 0.9367
Ulverstone | 22 | TUL2 | 0.9879 | 0.9868
Waddamana | 22 | TWA2 | 0.9617 | 0.9537
Wayatinah | 11 | TWY2 | 1.0006 | 0.9979
Wesley Vale | 22 | TWV2 | 0.9867 | 0.9863
Tasmania Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2018-19 MLF | 2017-18 MLF
Basslink (George Town) | 220 | BLNKTAS | TGT11 | TGT1 | 1 | 1
Bastyan | 220 | BASTYAN | TFA11 | TFA1 | 0.941 | 0.9486
Bell Bay No.3 | 110 | BBTHREE1 | TBB11 | TBB1 | 1.0003 | 1.0001
Bell Bay No.3 | 110 | BBTHREE2 | TBB12 | TBB1 | 1.0003 | 1.0001
Bell Bay No.3 | 110 | BBTHREE3 | TBB13 | TBB1 | 1.0003 | 1.0001
Bluff Point and Studland Bay Wind Farms | 110 | WOOLNTH1 | TST11 | TST1 | 0.8952 | 0.9025
Butlers Gorge | 110 | BUTLERSG | TBG11 | TBG1 | 0.935 | 0.9216
Catagunya | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9977 | 0.9919
Cethana | 220 | CETHANA | TCE11 | TCE1 | 0.9628 | 0.963
Cluny | 220 | CLUNY | TCL11 | TCL1 | 1.0019 | 0.9908
Devils gate | 110 | DEVILS_G | TDG11 | TDG1 | 0.9692 | 0.9703
Fisher | 220 | FISHER | TFI11 | TFI1 | 0.966 | 0.9671
Gordon | 220 | GORDON | TGO11 | TGO1 | 0.9868 | 0.9594
John Butters | 220 | JBUTTERS | TJB11 | TJB1 | 0.9365 | 0.9445
Lake Echo | 110 | LK_ECHO | TLE11 | TLE1 | 0.9385 | 0.9487
Lemonthyme | 220 | LEM_WIL | TSH11 | TSH1 | 0.9701 | 0.9711
Liapootah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9977 | 0.9919
Mackintosh | 110 | MACKNTSH | TMA11 | TMA1 | 0.9282 | 0.9402
Meadowbank | 110 | MEADOWBK | TMB11 | TMB1 | 0.9773 | 0.977
Musselroe | 110 | MUSSELR1 | TDE11M | TDE1 | 0.9105 | 0.9133
Paloona | 110 | PALOONA | TPA11 | TPA1 | 0.9771 | 0.9668
Poatina | 220 | POAT220 | TPM11 | TPM1 | 0.9912 | 0.9813
Poatina | 110 | POAT110 | TPM21 | TPM2 | 0.9799 | 0.9677
Reece No.1 | 220 | REECE1 | TRCA1 | TRCA | 0.935 | 0.9399
Reece No.2 | 220 | REECE2 | TRCB1 | TRCB | 0.9264 | 0.9402
Repulse | 220 | REPULSE | TCL12 | TCL1 | 1.0019 | 0.9908
Rowallan | 220 | ROWALLAN | TFI12 | TFI1 | 0.966 | 0.9671
Tamar Valley CCGT | 220 | TVCC201 | TTV11A | TTV1 | 0.9999 | 1
Tamar Valley OCGT | 110 | TVPP104 | TBB14A | TBB1 | 1.0003 | 1.0001
Tarraleah | 110 | TARRALEA | TTA11 | TTA1 | 0.9405 | 0.9338
Trevallyn | 110 | TREVALLN | TTR11 | TTR1 | 0.9909 | 0.9898
Tribute | 220 | TRIBUTE | TTI11 | TTI1 | 0.9377 | 0.9466
Tungatinah | 110 | TUNGATIN | TTU11 | TTU1 | 0.9184 | 0.9233
Wayatinah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9977 | 0.9919
Wilmot | 220 | LEM_WIL | TSH11 | TSH1 | 0.9701 | 0.9711
Tasmania Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2018-19 MLF | 2017-18 MLF
Midlands PS | 22 | MIDLDPS1 | TAV21M | TAV2 | 1.014 | 1.0017
Remount | 22 | REMOUNT | TMY21 | TVN2 | 0.9965 | 0.9938